## Oxygen OPA
Measurement Name : | 20221026_SDR641_Plate9 |  | Generated On : | 26/10/2022, 12:03:43 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 26/10/2022, 11:35:41 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 26/10/2022, 12:03:25 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 27 | °C
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 46.59 | 46.57 | 46.59 | 47.07 | 46.45 | 46.37 | 46.64 | 46.65 | 46.51 | 47.16 | 46.8 | 46.68 | 46.33 | 46.53 | 46.53 | 46.52 | 46.41 | 46.88 | 46.39 | 47.34 | 46.65 | 46.99 | 46.61 | 49.22
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
26.10.22 11:35:43 | 0.03 | 113.35 | 81.98 | 97.48 | 78.92 | 120.11 | 94.53 | 86.11 | 87.25 | 106.7 | 101.27 | 98.94 | 75.46 | 122.82 | 98.67 | 104.76 | 95.75 | 101.61 | 91.23 | 108.41 | 91.87 | 102.7 | 95.84 | 94.39 | 133.58 | 27 | 965 | 36 | 27.08 | 965D6-(E1);
26.10.22 11:35:58 | 0.28 | 86.33 | 81.14 | 91.64 | 76.43 | 91.47 | 95.38 | 82.13 | 84.1 | 93.44 | 89.88 | 95.92 | 78.11 | 95.4 | 90.97 | 94.29 | 82.63 | 105.89 | 94.53 | 95.66 | 84.07 | 88.4 | 95.84 | 89.31 | 124.7 | 27 | 965 | 36 | 27.15 | 965D6-(E1);
26.10.22 11:36:13 | 0.53 | 114.43 | 83.81 | 96.01 | 73.38 | 102.21 | 93.24 | 80.58 | 71.82 | 96.19 | 84.25 | 93.53 | 81.63 | 104.96 | 81.5 | 85 | 101.18 | 112.65 | 88.56 | 93.51 | 85 | 100.6 | 89.02 | 89.31 | 124.04 | 27 | 965 | 36 | 27.19 | 965D6-(E1);
26.10.22 11:36:28 | 0.78 | 122.3 | 97.78 | 113.5 | 92.73 | 120.73 | 96.39 | 105.88 | 89.99 | 130.28 | 118.99 | 103.67 | 93.76 | 130.54 | 104.16 | 121.85 | 97.21 | 109.48 | 104.01 | 112.48 | 109.81 | 114.05 | 110.39 | 111.21 | 147.9 | 27 | 965 | 36 | 27.26 | 965D6-(E1);
26.10.22 11:36:43 | 1.03 | 115.99 | 80.72 | 91.35 | 78.19 | 111.18 | 90.83 | 87.12 | 84.67 | 103.41 | 84.1 | 101.06 | 87.5 | 112.25 | 84.3 | 90.97 | 90.55 | 100.88 | 95.74 | 103.07 | 93.13 | 97.47 | 90.22 | 99.7 | 126.46 | 27 | 965 | 36 | 27.29 | 965D6-(E1);
26.10.22 11:36:58 | 1.28 | 78.04 | 87.07 | 81.81 | 77.31 | 106.21 | 78.25 | 77.64 | 80.56 | 100.74 | 84.85 | 84.14 | 75.46 | 90.31 | 86.41 | 93.57 | 86.14 | 101.61 | 98.32 | 101.46 | 94.24 | 108.33 | 85.44 | 87.3 | 114.67 | 27 | 965 | 36 | 27.32 | 965D6-(E1);
26.10.22 11:37:13 | 1.53 | 117.24 | 85.65 | 87.9 | 69.21 | 102.21 | 83.31 | 82.56 | 85.24 | 99.85 | 87.74 | 93.38 | 76.29 | 98.56 | 82.2 | 96.62 | 85.72 | 106.49 | 93.78 | 97.82 | 94.08 | 113.59 | 99.38 | 87.59 | 114.67 | 27 | 965 | 36 | 27.33 | 965D6-(E1);
26.10.22 11:37:28 | 1.78 | 112.27 | 83.95 | 91.35 | 77.02 | 102.06 | 84.41 | 90.58 | 71.95 | 117.88 | 85.16 | 98.94 | 84.34 | 114.52 | 89.4 | 94.58 | 82.77 | 109.78 | 85.17 | 95.95 | 82.53 | 108.48 | 84.84 | 90.32 | 145.14 | 27 | 965 | 36 | 27.36 | 965D6-(E1);
26.10.22 11:37:43 | 2.03 | 101.94 | 81 | 81.38 | 68.64 | 98.68 | 84.27 | 75.15 | 69.5 | 91.28 | 69.76 | 85.3 | 67.63 | 93.27 | 72.57 | 84.58 | 84.03 | 93.93 | 82.25 | 77.26 | 85.31 | 98.51 | 73.05 | 87.73 | 109.31 | 27 | 965 | 36 | 27.4 | 965D6-(E1);
26.10.22 11:37:58 | 2.28 | 108.13 | 71.78 | 73.9 | 75.7 | 88.21 | 79.88 | 84.26 | 71.13 | 101.48 | 93.43 | 74.86 | 75.32 | 106.58 | 101.18 | 92.84 | 89.27 | 98.98 | 89.3 | 104.84 | 81.31 | 95.55 | 83.81 | 95.56 | 113.38 | 27 | 965 | 36 | 27.41 | 965D6-(E1);
26.10.22 11:38:13 | 2.53 | 82.93 | 65.73 | 75.83 | 57.56 | 81.23 | 72.61 | 71.44 | 59.72 | 87.01 | 69.19 | 79.68 | 55.78 | 92.7 | 67.6 | 73.25 | 70.44 | 87 | 75.64 | 76.58 | 73.74 | 86.1 | 63.73 | 74.54 | 80.08 | 27 | 965 | 36 | 27.44 | 965D6-(E1);
26.10.22 11:38:28 | 2.78 | 106.15 | 74.09 | 80.96 | 67.64 | 102.94 | 81.11 | 77.78 | 67.87 | 97.94 | 70.2 | 81.4 | 76.02 | 97.26 | 90.69 | 87.4 | 96.33 | 102.78 | 83.27 | 85.07 | 83.46 | 79.58 | 83.07 | 78.83 | 102.94 | 27 | 965 | 36 | 27.47 | 965D6-(E1);
26.10.22 11:38:43 | 3.03 | 112.42 | 83.81 | 84.48 | 64.81 | 98.1 | 81.66 | 79.6 | 80.84 | 96.19 | 76.78 | 79.97 | 67.63 | 113.61 | 85.85 | 89.26 | 74.77 | 102.78 | 85.76 | 85.63 | 75.99 | 94.51 | 83.22 | 86.44 | 113.16 | 27 | 965 | 36 | 27.49 | 965D6-(E1);
26.10.22 11:38:58 | 3.28 | 104.19 | 77.81 | 74.73 | 68.36 | 97.66 | 82.76 | 80.3 | 68.95 | 89.13 | 81.09 | 84.28 | 75.04 | 90.73 | 80.94 | 91.26 | 83.75 | 101.02 | 76.78 | 95.09 | 89.2 | 111.57 | 88.57 | 87.01 | 96.66 | 27 | 965 | 36 | 27.51 | 965D6-(E1);
26.10.22 11:39:13 | 3.53 | 87.9 | 76.7 | 84.48 | 67.79 | 106.36 | 80.02 | 80.72 | 76.23 | 92.43 | 90.8 | 94.58 | 78.67 | 99.28 | 87.83 | 92.41 | 81.8 | 101.9 | 82.69 | 98.69 | 79.63 | 102.4 | 73.91 | 83.32 | 114.03 | 27 | 965 | 36 | 27.54 | 965D6-(E1);
26.10.22 11:39:28 | 3.78 | 108.74 | 74.5 | 72.54 | 69.36 | 97.37 | 80.16 | 78.9 | 71.54 | 79.04 | 74.28 | 72.06 | 69.26 | 94.69 | 84.16 | 88.97 | 80.82 | 88.82 | 70.69 | 82.58 | 72.84 | 78.88 | 80.72 | 76.05 | 96.87 | 27 | 965 | 36 | 27.54 | 965D6-(E1);
26.10.22 11:39:43 | 4.03 | 107.67 | 83.11 | 87.33 | 69.64 | 110.12 | 88.58 | 91.16 | 75.26 | 107.31 | 95.6 | 95.03 | 85.05 | 111.2 | 87.69 | 86.7 | 85.72 | 104.41 | 84.88 | 92.38 | 90.61 | 102.25 | 87.37 | 90.18 | 108.88 | 27 | 965 | 36 | 27.58 | 965D6-(E1);
26.10.22 11:39:58 | 4.28 | 108.13 | 89.35 | 80.96 | 73.82 | 104.43 | 94.67 | 96.58 | 83.82 | 112.32 | 102.22 | 105.36 | 96.12 | 111.8 | 98.97 | 99.41 | 97.36 | 113.41 | 88.41 | 104.99 | 93.13 | 115.62 | 93.4 | 94.1 | 137.63 | 27 | 965 | 36 | 27.6 | 965D6-(E1);
26.10.22 11:40:13 | 4.53 | 123.1 | 91.08 | 90.2 | 69.21 | 119.33 | 98.69 | 97.92 | 81.83 | 116.17 | 105.25 | 93.24 | 82.2 | 128.48 | 94.44 | 93.57 | 87.56 | 119.41 | 94.53 | 117.06 | 99.68 | 121 | 103.27 | 108.6 | 136.06 | 27 | 965 | 36 | 27.61 | 965D6-(E1);
26.10.22 11:40:28 | 4.78 | 91.64 | 79.75 | 70.23 | 63.4 | 90.62 | 79.2 | 86.97 | 66.39 | 89.85 | 88.04 | 92.34 | 68.86 | 121.58 | 87.55 | 83.03 | 80.82 | 103.37 | 78.07 | 88.84 | 78.11 | 99.7 | 79.99 | 82.05 | 98.12 | 27 | 965 | 36 | 27.64 | 965D6-(E1);
26.10.22 11:40:43 | 5.03 | 92.07 | 68 | 66.6 | 56.73 | 83.73 | 79.2 | 70.07 | 63.04 | 95.75 | 66.88 | 72.9 | 64.13 | 94.83 | 72.84 | 80.39 | 78.88 | 87.42 | 78.5 | 86.46 | 69.57 | 90.43 | 77.66 | 73.16 | 101.68 | 27 | 965 | 36 | 27.65 | 965D6-(E1);
26.10.22 11:40:58 | 5.28 | 126.14 | 80.58 | 74.31 | 56.45 | 102.06 | 81.66 | 76.81 | 76.92 | 89.56 | 79.3 | 75 | 63.86 | 109.41 | 76.25 | 81.22 | 74.36 | 110.08 | 65.27 | 93.66 | 73.59 | 94.96 | 67.23 | 75.91 | 111.45 | 27 | 965 | 36 | 27.66 | 965D6-(E1);
26.10.22 11:41:13 | 5.53 | 82.93 | 71.78 | 75.83 | 60.47 | 91.05 | 75.42 | 65.75 | 65.18 | 93.29 | 80.35 | 85.44 | 69.13 | 94.4 | 76.39 | 86.84 | 70.58 | 84.49 | 77.64 | 95.23 | 82.38 | 86.53 | 81.3 | 79.11 | 97.07 | 27 | 965 | 36 | 27.68 | 965D6-(E1);
26.10.22 11:41:28 | 5.78 | 82.65 | 66.27 | 67.94 | 47.9 | 98.98 | 72.08 | 68.17 | 66.39 | 86.86 | 65.74 | 85.3 | 64.8 | 72.19 | 60.23 | 75.02 | 61.96 | 94.79 | 74.5 | 72.43 | 60.22 | 88.11 | 67.65 | 63.86 | 86.15 | 27 | 965 | 36 | 27.69 | 965D6-(E1);
26.10.22 11:41:43 | 6.03 | 103.14 | 65.2 | 64.06 | 50.05 | 98.39 | 66.56 | 66.29 | 58.8 | 79.73 | 70.05 | 74.16 | 59.2 | 90.59 | 70.82 | 70.14 | 66.84 | 90.66 | 64.86 | 88.28 | 72.54 | 88.4 | 69.06 | 72.62 | 92.1 | 27 | 965 | 36 | 27.72 | 965D6-(E1);
26.10.22 11:41:58 | 6.28 | 116.93 | 83.53 | 82.51 | 80.99 | 126.41 | 93.1 | 90 | 80.84 | 109.42 | 97.48 | 104.28 | 89.09 | 119.1 | 85 | 98.67 | 97.5 | 103.52 | 87.67 | 106.47 | 88.11 | 110.64 | 88.12 | 92.49 | 125.36 | 27 | 965 | 36 | 27.74 | 965D6-(E1);
26.10.22 11:42:13 | 6.53 | 122.94 | 80.58 | 84.34 | 64.25 | 101.32 | 79.61 | 82.42 | 88.54 | 97.94 | 88.81 | 88.51 | 73.93 | 94.26 | 85.28 | 89.97 | 79.3 | 108.58 | 72.38 | 98.69 | 83.46 | 99.1 | 66.25 | 84.59 | 91.07 | 27 | 965 | 36 | 27.75 | 965D6-(E1);
26.10.22 11:42:28 | 6.78 | 124.69 | 83.39 | 85.9 | 79.66 | 120.73 | 88.16 | 87.26 | 74.02 | 102.66 | 85.46 | 100 | 78.81 | 106.73 | 91.98 | 88.26 | 92.42 | 116.78 | 76.64 | 105.73 | 87.95 | 98.06 | 85.29 | 84.31 | 112.73 | 27 | 965 | 36 | 27.78 | 965D6-(E1);
26.10.22 11:42:43 | 7.03 | 115.37 | 81 | 83.07 | 71.79 | 102.94 | 89.15 | 86.97 | 72.09 | 100 | 85.76 | 88.51 | 69.81 | 116.65 | 85.28 | 88.11 | 77.78 | 107.98 | 78.93 | 86.6 | 88.57 | 93.05 | 82.48 | 95.27 | 109.09 | 27 | 965 | 36 | 27.79 | 965D6-(E1);
26.10.22 11:42:58 | 7.28 | 112.58 | 71.24 | 75.28 | 59.77 | 104.13 | 73.81 | 80.58 | 65.71 | 90.28 | 73.11 | 81.97 | 67.09 | 120.49 | 65.61 | 81.22 | 79.16 | 105.45 | 77.92 | 79.16 | 68.83 | 86.24 | 75.63 | 77.85 | 95.41 | 27 | 965 | 36 | 27.82 | 965D6-(E1);
26.10.22 11:43:13 | 7.53 | 106 | 76.01 | 79.43 | 63.12 | 95.2 | 73.81 | 79.46 | 66.66 | 88.99 | 75.46 | 90.13 | 63.46 | 91.43 | 75.16 | 85.71 | 83.61 | 103.08 | 72.8 | 92.94 | 77.2 | 93.05 | 76.5 | 83.74 | 92.51 | 27 | 965 | 36 | 27.83 | 965D6-(E1);
26.10.22 11:43:28 | 7.78 | 112.27 | 61.24 | 66.06 | 38.38 | 73.6 | 57.06 | 68.99 | 49.22 | 82.09 | 60.91 | 72.76 | 46.64 | 78.88 | 64.55 | 65.48 | 66.57 | 94.93 | 59.93 | 71.63 | 58.78 | 96.14 | 56.84 | 64.79 | 70.71 | 27 | 965 | 36 | 27.85 | 965D6-(E1);
26.10.22 11:43:43 | 8.03 | 131.5 | 77.25 | 74.18 | 53.85 | 90.76 | 78.12 | 68.99 | 61.44 | 88.71 | 76.19 | 86.02 | 57.62 | 93.84 | 72.44 | 80.94 | 71.25 | 94.5 | 68.6 | 94.94 | 63.7 | 84.67 | 75.92 | 79.39 | 102.52 | 27 | 965 | 36 | 27.86 | 965D6-(E1);
26.10.22 11:43:59 | 8.3 | 100.74 | 78.5 | 79.99 | 62.28 | 110.43 | 88.73 | 87.12 | 71.82 | 101.33 | 88.96 | 92.49 | 68.31 | 96.69 | 85.42 | 88.83 | 85.16 | 104.7 | 76.07 | 92.52 | 71.65 | 104.37 | 84.84 | 91.33 | 114.67 | 27 | 965 | 36 | 27.88 | 965D6-(E1);
26.10.22 11:44:14 | 8.55 | 104.79 | 78.36 | 91.5 | 60.61 | 97.96 | 85.93 | 80.72 | 71 | 101.77 | 71.36 | 83.41 | 62.39 | 100 | 69.07 | 90.11 | 79.85 | 97.38 | 70.55 | 86.32 | 76.14 | 86.67 | 85.14 | 80.64 | 112.3 | 27 | 965 | 36 | 27.9 | 965D6-(E1);
26.10.22 11:44:29 | 8.8 | 87.04 | 69.48 | 74.04 | 55.9 | 109.07 | 82.76 | 88.12 | 66.25 | 91.71 | 79.6 | 80.97 | 59.86 | 103.2 | 70.68 | 80.39 | 73.55 | 99.85 | 77.49 | 103.22 | 68.98 | 98.81 | 65.97 | 81.63 | 106.54 | 27 | 965 | 36 | 27.9 | 965D6-(E1);
26.10.22 11:44:44 | 9.05 | 122.3 | 81.84 | 88.61 | 58.66 | 103.83 | 84.69 | 83.27 | 68.01 | 97.8 | 83.04 | 88.51 | 70.77 | 114.07 | 82.48 | 79.97 | 80.27 | 118.17 | 79.65 | 90.53 | 73.29 | 95.84 | 79.99 | 89.17 | 91.89 | 27 | 965 | 36 | 27.91 | 965D6-(E1);
26.10.22 11:44:59 | 9.3 | 102.54 | 67.74 | 69.96 | 42.44 | 102.5 | 69.7 | 72.94 | 58.15 | 76.43 | 66.16 | 62.58 | 50.73 | 96.4 | 71.9 | 76.8 | 64.98 | 78.85 | 60.07 | 74.57 | 62.97 | 81.83 | 69.06 | 67.6 | 83.11 | 27 | 965 | 36 | 27.93 | 965D6-(E1);
26.10.22 11:45:14 | 9.55 | 102.09 | 66.67 | 75.69 | 46.02 | 95.2 | 70.23 | 68.44 | 59.33 | 80.98 | 66.02 | 74.58 | 57.75 | 94.83 | 59.84 | 77.07 | 70.58 | 81.58 | 57.5 | 91.24 | 63.55 | 99.4 | 67.51 | 79.94 | 85.34 | 27 | 965 | 36 | 27.94 | 965D6-(E1);
26.10.22 11:45:29 | 9.8 | 108.43 | 91.95 | 93.09 | 63.69 | 115.92 | 90.41 | 101.8 | 72.64 | 120.23 | 87.43 | 93.38 | 72.14 | 111.05 | 90.97 | 93.86 | 93.57 | 112.65 | 88.11 | 114.76 | 88.73 | 116.4 | 82.19 | 93.22 | 117.05 | 27 | 965 | 36 | 27.96 | 965D6-(E1);
26.10.22 11:45:44 | 10.05 | 97.63 | 71.92 | 71.58 | 44.96 | 91.9 | 69.83 | 76.53 | 59.99 | 93.15 | 77.97 | 64.62 | 59.6 | 103.2 | 74.07 | 83.74 | 68.97 | 98.98 | 67.07 | 84.66 | 62.1 | 82.97 | 72.76 | 73.85 | 73.68 | 27 | 965 | 36 | 27.97 | 965D6-(E1);
26.10.22 11:45:59 | 10.3 | 128.89 | 79.33 | 82.79 | 60.47 | 114.85 | 82.48 | 89.57 | 73.6 | 107.15 | 78.12 | 101.37 | 72.83 | 104.52 | 79 | 84.16 | 79.3 | 107.68 | 76.07 | 95.95 | 67.8 | 90.43 | 70.91 | 81.63 | 107.81 | 27 | 965 | 36 | 27.97 | 965D6-(E1);
26.10.22 11:46:14 | 10.55 | 121.5 | 81.84 | 78.45 | 59.77 | 100.88 | 84.55 | 93.35 | 69.5 | 103.26 | 79.3 | 96.83 | 66.41 | 114.98 | 75.57 | 87.83 | 78.88 | 103.67 | 85.17 | 97.68 | 75.39 | 112.03 | 73.19 | 91.19 | 90.86 | 27 | 965 | 36 | 28 | 965D6-(E1);
26.10.22 11:46:29 | 10.8 | 92.36 | 70.7 | 64.73 | 50.05 | 90.33 | 72.48 | 63.88 | 51.4 | 93.44 | 62.04 | 64.89 | 59.2 | 115.43 | 64.55 | 66.01 | 66.44 | 89.53 | 65.13 | 82.72 | 58.07 | 91.59 | 68.92 | 65.19 | 85.54 | 27 | 965 | 36 | 28.01 | 965D6-(E1);
26.10.22 11:46:44 | 11.05 | 116.46 | 70.29 | 72.67 | 40.6 | 87.93 | 74.22 | 69.12 | 56.97 | 89.28 | 62.18 | 79.97 | 56.31 | 84.2 | 61.79 | 69.07 | 67.77 | 97.1 | 60.75 | 69.11 | 61.09 | 86.24 | 63.87 | 83.88 | 78.27 | 27 | 965 | 36 | 28.01 | 965D6-(E1);
26.10.22 11:46:59 | 11.3 | 116.3 | 76.15 | 87.61 | 62.84 | 121.99 | 91.4 | 93.06 | 74.98 | 101.77 | 80.35 | 88.8 | 71.73 | 97.12 | 90.83 | 95.16 | 84.31 | 110.69 | 78.93 | 92.8 | 79.78 | 102.25 | 59.72 | 93.22 | 104.42 | 27 | 965 | 36 | 28.03 | 965D6-(E1);
26.10.22 11:47:14 | 11.55 | 119.6 | 92.53 | 89.91 | 70.79 | 116.54 | 97.68 | 95.4 | 78.6 | 108.06 | 97.17 | 92.49 | 76.15 | 120.8 | 93.57 | 93.28 | 92.28 | 114.94 | 91.23 | 103.51 | 93.13 | 114.68 | 86.92 | 89.6 | 102.52 | 27 | 965 | 36 | 28.07 | 965D6-(E1);
26.10.22 11:47:29 | 11.8 | 103.59 | 69.08 | 86.33 | 45.36 | 109.22 | 74.88 | 87.4 | 69.23 | 95.61 | 88.2 | 75.28 | 64.13 | 112.1 | 77.76 | 81.08 | 80.82 | 107.08 | 74.64 | 94.37 | 72.69 | 102.7 | 63.87 | 84.17 | 95.62 | 27 | 965 | 36 | 28.08 | 965D6-(E1);
26.10.22 11:47:45 | 12.07 | 129.22 | 82.54 | 82.79 | 65.24 | 114.69 | 84.41 | 85.69 | 71.68 | 106.1 | 86.22 | 83.99 | 74.21 | 109.85 | 84.86 | 87.83 | 80.96 | 108.43 | 81.96 | 86.18 | 80.85 | 103.46 | 65.13 | 92.64 | 94.58 | 27 | 965 | 36 | 28.08 | 965D6-(E1);
26.10.22 11:48:00 | 12.32 | 103.59 | 62.69 | 71.45 | 40.47 | 80.96 | 65.52 | 73.49 | 63.17 | 85.59 | 64.17 | 68.87 | 62.65 | 92.84 | 69.88 | 75.29 | 72.87 | 100.88 | 66.1 | 75.24 | 63.41 | 90.43 | 67.51 | 64.39 | 86.36 | 27 | 965 | 36 | 28.11 | 965D6-(E1);
26.10.22 11:48:15 | 12.57 | 143.16 | 83.53 | 80.13 | 56.87 | 119.95 | 95.81 | 90.29 | 76.37 | 107.91 | 79.9 | 76.55 | 70.63 | 112.86 | 84.02 | 102.97 | 84.17 | 103.37 | 87.82 | 106.47 | 77.81 | 111.72 | 95.08 | 88.16 | 112.3 | 27 | 965 | 36 | 28.14 | 965D6-(E1);
26.10.22 11:48:30 | 12.82 | 135.78 | 84.37 | 85.62 | 65.66 | 135.78 | 87.89 | 94.67 | 79.72 | 113.55 | 74.72 | 94.13 | 90.69 | 125.95 | 85.28 | 89.83 | 96.48 | 113.87 | 74.08 | 103.37 | 71.8 | 106.49 | 77.22 | 88.73 | 93.55 | 27 | 965 | 36 | 28.15 | 965D6-(E1);
26.10.22 11:48:45 | 13.07 | 135.62 | 87.35 | 79.29 | 55.22 | 110.73 | 82.21 | 87.4 | 70.86 | 101.63 | 75.75 | 76.7 | 66.96 | 120.03 | 72.71 | 86.7 | 77.92 | 113.87 | 75.5 | 101.31 | 75.09 | 97.77 | 74.34 | 89.31 | 91.48 | 27 | 965 | 36 | 28.18 | 965D6-(E1);
26.10.22 11:49:00 | 13.32 | 106.61 | 81.84 | 80.13 | 54.94 | 102.8 | 84.69 | 84.69 | 69.77 | 101.63 | 73.26 | 75 | 66.41 | 104.81 | 71.09 | 83.31 | 77.65 | 100.29 | 70.97 | 85.35 | 69.27 | 102.85 | 71.19 | 75.78 | 84.93 | 27 | 965 | 36 | 28.18
26.10.22 11:49:15 | 13.57 | 106.61 | 81.56 | 79.85 | 54.12 | 102.94 | 84.55 | 84.54 | 69.63 | 101.77 | 72.67 | 74.58 | 66.14 | 104.81 | 70.82 | 83.03 | 77.51 | 100.29 | 70.69 | 85.21 | 68.83 | 102.7 | 70.76 | 75.36 | 84.32 | 27 | 965 | 36 | 28.19
26.10.22 11:49:30 | 13.82 | 106.3 | 81.28 | 79.43 | 53.03 | 102.8 | 84.13 | 84.4 | 69.23 | 101.48 | 71.8 | 73.88 | 65.87 | 104.81 | 70.28 | 82.48 | 76.96 | 100 | 69.99 | 84.8 | 68.24 | 102.7 | 69.91 | 74.81 | 83.11 | 27 | 965 | 36 | 28.16
26.10.22 11:49:45 | 14.07 | 106.45 | 80.72 | 79.15 | 52.49 | 102.5 | 84 | 83.98 | 69.09 | 101.48 | 71.51 | 73.46 | 65.74 | 104.96 | 69.88 | 82.34 | 76.68 | 99.85 | 69.57 | 84.66 | 67.8 | 102.7 | 69.63 | 74.81 | 82.3 | 27 | 965 | 36 | 28.14
26.10.22 11:50:00 | 14.32 | 106.3 | 80.58 | 78.87 | 51.81 | 102.65 | 83.72 | 83.83 | 69.09 | 101.48 | 70.78 | 73.18 | 65.47 | 104.96 | 69.34 | 82.2 | 76.41 | 99.71 | 69.02 | 84.38 | 67.06 | 102.4 | 69.2 | 74.54 | 81.49 | 27 | 965 | 36 | 28.11
26.10.22 11:50:15 | 14.57 | 106.3 | 80.31 | 78.59 | 51.13 | 102.8 | 83.58 | 83.83 | 68.68 | 101.63 | 70.34 | 73.04 | 65.6 | 104.96 | 69.07 | 81.78 | 76.55 | 99.56 | 68.88 | 84.24 | 66.77 | 102.7 | 68.64 | 74.26 | 80.88 | 27 | 965 | 36 | 28.08
26.10.22 11:50:30 | 14.82 | 106 | 80.17 | 78.04 | 50.59 | 102.5 | 83.17 | 83.41 | 68.68 | 101.63 | 69.47 | 72.62 | 65.6 | 104.81 | 68.54 | 81.36 | 76.14 | 99.13 | 68.46 | 83.41 | 66.18 | 102.25 | 68.5 | 73.85 | 80.08 | 27 | 965 | 36 | 28.08
26.10.22 11:50:45 | 15.07 | 106.15 | 79.75 | 77.48 | 49.78 | 102.65 | 82.89 | 83.27 | 68.41 | 101.63 | 68.75 | 72.48 | 65.74 | 105.11 | 68.27 | 80.94 | 75.86 | 98.83 | 68.18 | 83.27 | 65.45 | 102.4 | 68.07 | 73.71 | 79.47 | 27 | 965 | 36 | 28.08
26.10.22 11:51:00 | 15.32 | 106.15 | 79.75 | 77.34 | 49.24 | 102.8 | 82.76 | 82.98 | 68.41 | 101.63 | 67.89 | 72.34 | 65.87 | 105.11 | 67.87 | 80.66 | 75.86 | 98.69 | 68.04 | 83 | 64.87 | 102.4 | 67.79 | 73.44 | 78.67 | 27 | 965 | 36 | 28.07
26.10.22 11:51:15 | 15.57 | 106.15 | 79.19 | 76.65 | 48.57 | 102.65 | 82.34 | 82.98 | 67.87 | 101.63 | 67.31 | 71.92 | 65.87 | 105.11 | 67.34 | 79.97 | 75.45 | 98.4 | 67.9 | 82.58 | 64.72 | 102.25 | 67.65 | 73.16 | 78.07 | 27 | 965 | 36 | 28.05
26.10.22 11:51:30 | 15.82 | 106 | 79.05 | 76.38 | 48.03 | 102.8 | 82.21 | 82.56 | 67.6 | 101.48 | 66.59 | 71.78 | 66.14 | 105.26 | 66.94 | 79.55 | 75.32 | 97.96 | 67.62 | 82.17 | 64.28 | 102.1 | 67.23 | 72.89 | 77.07 | 27 | 965 | 36 | 28.04
26.10.22 11:51:45 | 16.07 | 106 | 78.78 | 76.24 | 47.49 | 102.65 | 81.66 | 82.28 | 67.46 | 101.48 | 66.16 | 71.64 | 66.28 | 105.4 | 66.94 | 79.14 | 75.04 | 97.82 | 67.76 | 82.17 | 64.14 | 101.8 | 66.95 | 72.62 | 76.67 | 27 | 965 | 36 | 28.04
26.10.22 11:52:00 | 16.32 | 106 | 78.22 | 75.83 | 46.82 | 102.8 | 81.38 | 82.13 | 67.46 | 101.33 | 65.59 | 71.5 | 66.28 | 105.26 | 66.67 | 78.59 | 74.77 | 97.67 | 67.9 | 82.03 | 63.84 | 101.8 | 66.81 | 72.34 | 76.07 | 27 | 965 | 36 | 28.03
26.10.22 11:52:15 | 16.57 | 105.7 | 77.94 | 75.55 | 46.56 | 102.65 | 80.97 | 82.13 | 67.19 | 101.48 | 64.74 | 71.09 | 66.41 | 105.11 | 66.4 | 78.04 | 74.36 | 97.24 | 67.76 | 81.76 | 63.41 | 101.65 | 66.39 | 71.93 | 75.07 | 27 | 965 | 36 | 28.01
26.10.22 11:52:30 | 16.82 | 105.85 | 77.12 | 75.28 | 46.29 | 102.8 | 80.56 | 81.99 | 66.92 | 101.18 | 63.74 | 70.81 | 66.55 | 105.4 | 66.27 | 78.04 | 74.36 | 96.95 | 67.9 | 81.62 | 62.97 | 101.65 | 66.39 | 71.66 | 74.47 | 27 | 965 | 36 | 28.01
26.10.22 11:52:45 | 17.07 | 105.85 | 76.7 | 75 | 45.89 | 102.8 | 80.16 | 81.99 | 67.06 | 101.18 | 63.17 | 70.67 | 66.55 | 105.4 | 66.27 | 78.04 | 73.96 | 96.66 | 67.9 | 81.35 | 62.68 | 101.65 | 66.11 | 71.39 | 73.88 | 27 | 965 | 36 | 28.01
26.10.22 11:53:00 | 17.32 | 105.85 | 76.15 | 74.59 | 45.62 | 102.94 | 80.02 | 81.71 | 67.06 | 101.33 | 62.74 | 70.39 | 66.68 | 105.55 | 66.14 | 77.9 | 73.68 | 96.52 | 67.9 | 81.21 | 62.1 | 101.2 | 66.39 | 70.98 | 73.28 | 27 | 965 | 36 | 28.01
26.10.22 11:53:15 | 17.57 | 105.85 | 76.01 | 74.45 | 44.83 | 102.94 | 79.75 | 81.71 | 66.92 | 101.33 | 62.18 | 70.25 | 66.55 | 105.55 | 66.14 | 77.76 | 73.41 | 95.94 | 68.04 | 81.21 | 61.81 | 101.35 | 66.25 | 70.44 | 72.88 | 27 | 965 | 36 | 28.01
26.10.22 11:53:31 | 17.83 | 105.7 | 75.46 | 74.04 | 44.29 | 102.8 | 79.2 | 81.43 | 66.79 | 101.18 | 61.47 | 69.84 | 66.82 | 105.55 | 65.87 | 77.48 | 73.14 | 95.8 | 68.04 | 80.94 | 61.09 | 101.05 | 66.11 | 69.9 | 72.49 | 27 | 965 | 36 | 28.01
26.10.22 11:53:46 | 18.08 | 105.7 | 75.19 | 73.77 | 44.03 | 102.8 | 79.07 | 81.29 | 66.79 | 101.18 | 61.19 | 69.7 | 66.96 | 105.7 | 65.74 | 77.48 | 73.01 | 95.37 | 68.18 | 80.8 | 60.94 | 101.05 | 65.97 | 69.35 | 71.5 | 27 | 965 | 36 | 28.01
26.10.22 11:54:01 | 18.33 | 105.55 | 75.05 | 73.49 | 43.63 | 103.09 | 78.52 | 81.15 | 66.66 | 101.18 | 60.91 | 69.56 | 67.09 | 105.55 | 65.61 | 77.48 | 73.01 | 95.37 | 68.32 | 80.8 | 60.22 | 101.05 | 66.25 | 68.81 | 71.1 | 27 | 965 | 36 | 27.99
26.10.22 11:54:16 | 18.58 | 105.85 | 74.78 | 73.49 | 43.23 | 103.39 | 78.52 | 81.15 | 66.66 | 101.18 | 60.48 | 69.42 | 67.5 | 105.7 | 65.61 | 77.48 | 72.74 | 95.22 | 68.46 | 80.8 | 59.79 | 101.05 | 66.39 | 68.68 | 70.71 | 27 | 965 | 36 | 27.99
26.10.22 11:54:31 | 18.83 | 105.39 | 74.23 | 73.08 | 42.71 | 102.94 | 77.98 | 81.01 | 66.52 | 100.89 | 60.06 | 68.73 | 67.23 | 105.55 | 65.21 | 77.07 | 72.33 | 94.65 | 68.18 | 80.39 | 59.21 | 100.75 | 65.69 | 67.74 | 69.52 | 27 | 965 | 36 | 27.99
26.10.22 11:54:46 | 19.08 | 105.55 | 73.68 | 72.95 | 41.91 | 103.24 | 77.98 | 81.01 | 66.39 | 100.89 | 59.78 | 68.87 | 67.36 | 105.7 | 65.08 | 76.94 | 72.33 | 94.5 | 68.32 | 80.12 | 58.78 | 100.6 | 65.69 | 67.2 | 68.93 | 27 | 965 | 36 | 27.97
26.10.22 11:55:01 | 19.33 | 105.55 | 73.55 | 72.95 | 41.65 | 103.39 | 77.85 | 81.01 | 66.52 | 101.03 | 59.5 | 68.73 | 67.5 | 105.85 | 64.95 | 77.07 | 72.47 | 94.36 | 68.46 | 80.25 | 58.5 | 100.45 | 65.69 | 66.93 | 68.54 | 27 | 965 | 36 | 27.97
26.10.22 11:55:16 | 19.58 | 105.39 | 73 | 72.54 | 41.12 | 103.24 | 77.44 | 80.44 | 66.25 | 100.74 | 59.36 | 68.45 | 67.5 | 105.55 | 64.55 | 76.8 | 72.19 | 94.07 | 68.32 | 79.84 | 58.07 | 100.3 | 65.41 | 66.12 | 67.75 | 27 | 965 | 36 | 27.97
26.10.22 11:55:31 | 19.83 | 105.24 | 72.46 | 72.54 | 40.21 | 103.24 | 77.17 | 80.44 | 66.25 | 100.44 | 58.94 | 67.9 | 67.09 | 105.4 | 64.16 | 76.39 | 71.92 | 93.79 | 68.18 | 79.71 | 57.78 | 100.15 | 65.27 | 65.72 | 67.16 | 27 | 965 | 36 | 27.97
26.10.22 11:55:46 | 20.08 | 105.39 | 72.59 | 72.4 | 39.81 | 103.39 | 77.04 | 80.44 | 66.25 | 100.74 | 58.8 | 67.77 | 67.23 | 105.7 | 64.29 | 76.25 | 71.92 | 93.79 | 68.32 | 79.57 | 57.49 | 99.85 | 65.27 | 65.06 | 66.77 | 27 | 965 | 36 | 27.96
26.10.22 11:56:01 | 20.33 | 105.24 | 72.32 | 72.27 | 39.29 | 103.39 | 76.23 | 79.88 | 65.85 | 100.59 | 58.52 | 67.35 | 66.96 | 105.7 | 63.89 | 76.25 | 71.92 | 93.5 | 68.18 | 79.3 | 57.21 | 99.85 | 64.99 | 64.12 | 65.6 | 27 | 965 | 36 | 27.96
26.10.22 11:56:16 | 20.58 | 105.24 | 72.32 | 72.13 | 38.77 | 103.54 | 76.36 | 80.02 | 65.98 | 100.74 | 58.66 | 67.35 | 67.09 | 105.85 | 64.02 | 76.11 | 71.92 | 93.5 | 68.46 | 79.16 | 57.07 | 99.85 | 64.99 | 63.86 | 65.21 | 27 | 965 | 36 | 27.96
26.10.22 11:56:31 | 20.83 | 104.94 | 71.92 | 71.86 | 38.64 | 103.39 | 75.56 | 79.46 | 65.71 | 100.59 | 58.1 | 66.94 | 66.68 | 105.55 | 63.63 | 75.7 | 71.52 | 93.07 | 67.9 | 78.89 | 56.64 | 99.85 | 64.29 | 63.33 | 64.43 | 27 | 965 | 36 | 27.96
26.10.22 11:56:46 | 21.08 | 105.09 | 71.78 | 71.86 | 37.98 | 103.54 | 75.42 | 79.18 | 65.58 | 100.44 | 57.96 | 66.67 | 66.68 | 105.55 | 63.37 | 75.43 | 71.39 | 93.07 | 67.9 | 78.62 | 56.07 | 99.55 | 64.15 | 62.66 | 63.84 | 27 | 965 | 36 | 27.96
26.10.22 11:57:01 | 21.33 | 104.94 | 71.51 | 71.58 | 37.46 | 103.54 | 75.42 | 79.04 | 65.31 | 100.44 | 57.82 | 66.39 | 66.55 | 105.55 | 63.24 | 75.29 | 70.98 | 92.79 | 67.76 | 78.48 | 55.5 | 99.55 | 64.15 | 62.27 | 63.06 | 27 | 965 | 36 | 27.93
26.10.22 11:57:16 | 21.58 | 104.94 | 71.51 | 71.45 | 37.2 | 103.54 | 75.15 | 79.04 | 65.18 | 100.44 | 57.54 | 66.12 | 66.55 | 105.7 | 63.1 | 75.02 | 70.98 | 92.93 | 67.76 | 78.48 | 55.36 | 99.25 | 64.01 | 62 | 62.48 | 27 | 965 | 36 | 27.94
26.10.22 11:57:31 | 21.83 | 104.79 | 71.24 | 71.31 | 36.56 | 103.39 | 74.88 | 78.76 | 64.91 | 100.29 | 57.26 | 65.84 | 66.28 | 105.55 | 62.84 | 74.75 | 70.71 | 92.65 | 67.48 | 78.21 | 54.93 | 98.96 | 63.73 | 61.61 | 61.9 | 27 | 965 | 36 | 27.93
26.10.22 11:57:46 | 22.08 | 104.94 | 71.1 | 71.18 | 36.17 | 103.39 | 74.88 | 78.62 | 64.91 | 100.44 | 57.26 | 65.71 | 66.14 | 105.85 | 62.84 | 74.61 | 70.71 | 92.36 | 67.48 | 78.21 | 54.5 | 99.1 | 63.59 | 61.34 | 61.51 | 27 | 965 | 36 | 27.93
26.10.22 11:58:01 | 22.33 | 104.64 | 70.56 | 71.04 | 35.26 | 103.54 | 74.48 | 78.34 | 65.04 | 100.29 | 56.98 | 65.3 | 65.87 | 105.7 | 62.71 | 74.07 | 70.44 | 92.36 | 67.35 | 78.07 | 54.08 | 98.96 | 63.45 | 60.95 | 60.93 | 27 | 965 | 36 | 27.94
26.10.22 11:58:16 | 22.58 | 104.94 | 70.7 | 70.91 | 35 | 103.54 | 74.48 | 78.06 | 65.04 | 100.15 | 56.84 | 65.02 | 65.74 | 105.55 | 62.45 | 74.07 | 70.31 | 92.22 | 67.35 | 77.94 | 53.79 | 98.66 | 63.31 | 60.55 | 60.15 | 27 | 965 | 36 | 27.93
26.10.22 11:58:31 | 22.83 | 104.79 | 70.16 | 70.64 | 34.49 | 103.68 | 74.08 | 78.06 | 64.91 | 100.15 | 56.56 | 64.62 | 65.34 | 105.7 | 62.19 | 73.79 | 70.04 | 92.08 | 67.21 | 77.4 | 53.65 | 98.51 | 63.04 | 60.16 | 59.57 | 27 | 965 | 36 | 27.93
26.10.22 11:58:46 | 23.08 | 104.64 | 69.89 | 70.5 | 34.23 | 103.54 | 73.68 | 77.92 | 64.77 | 100 | 56.28 | 64.21 | 65.34 | 105.55 | 62.05 | 73.39 | 69.91 | 91.79 | 67.07 | 77.4 | 53.23 | 98.51 | 62.48 | 59.5 | 58.8 | 27 | 965 | 36 | 27.91
26.10.22 11:59:01 | 23.33 | 104.49 | 69.48 | 70.36 | 33.59 | 103.24 | 73.15 | 77.37 | 64.64 | 99.85 | 55.87 | 63.8 | 65.07 | 105.4 | 61.79 | 73.11 | 69.64 | 91.65 | 66.93 | 76.85 | 52.66 | 98.06 | 61.93 | 58.98 | 58.22 | 27 | 965 | 36 | 27.93
26.10.22 11:59:16 | 23.58 | 104.79 | 69.35 | 70.23 | 33.2 | 103.39 | 72.61 | 77.23 | 64.64 | 100 | 55.73 | 63.53 | 64.8 | 105.4 | 61.53 | 72.98 | 69.5 | 91.65 | 66.93 | 76.99 | 52.24 | 98.06 | 61.24 | 58.58 | 57.45 | 27 | 965 | 36 | 27.91
26.10.22 11:59:31 | 23.83 | 104.49 | 69.21 | 69.96 | 32.94 | 103.39 | 71.82 | 77.23 | 64.37 | 99.85 | 55.45 | 63.12 | 64.8 | 105.4 | 61.14 | 72.84 | 69.37 | 91.37 | 66.65 | 76.72 | 52.1 | 97.91 | 60.68 | 58.06 | 57.07 | 27 | 965 | 36 | 27.91
26.10.22 11:59:46 | 24.08 | 104.49 | 68.81 | 69.82 | 32.56 | 103.39 | 71.55 | 76.95 | 64.37 | 99.85 | 54.89 | 62.58 | 64.66 | 105.4 | 60.62 | 72.57 | 69.1 | 91.08 | 66.38 | 76.45 | 51.68 | 97.77 | 60.55 | 57.8 | 56.88 | 27 | 965 | 36 | 27.91
26.10.22 12:00:01 | 24.33 | 104.19 | 68.54 | 69.82 | 32.3 | 103.54 | 71.29 | 76.95 | 64.24 | 99.85 | 54.48 | 61.9 | 64.53 | 105.4 | 60.36 | 72.17 | 69.1 | 90.94 | 66.24 | 76.31 | 51.26 | 97.62 | 59.72 | 57.28 | 56.3 | 27 | 965 | 36 | 27.9
26.10.22 12:00:16 | 24.58 | 104.19 | 68 | 69.55 | 31.66 | 103.39 | 70.63 | 76.67 | 63.97 | 99.56 | 54.06 | 61.09 | 64.26 | 105.4 | 59.97 | 72.03 | 68.57 | 90.66 | 65.82 | 75.91 | 50.84 | 97.02 | 59.44 | 56.76 | 55.54 | 27 | 965 | 36 | 27.91
26.10.22 12:00:31 | 24.83 | 104.19 | 67.74 | 69.15 | 31.41 | 103.39 | 70.23 | 76.53 | 64.11 | 99.71 | 53.51 | 60.96 | 63.99 | 105.26 | 59.71 | 71.76 | 68.44 | 90.51 | 65.68 | 75.78 | 50.41 | 97.17 | 59.17 | 56.37 | 55.34 | 27 | 965 | 36 | 27.9
26.10.22 12:00:46 | 25.08 | 104.04 | 67.74 | 69.01 | 31.03 | 103.09 | 69.97 | 76.53 | 64.11 | 99.71 | 53.24 | 60.42 | 63.99 | 105.55 | 59.19 | 71.76 | 68.17 | 90.37 | 65.68 | 75.51 | 49.85 | 97.02 | 58.76 | 55.98 | 54.96 | 27 | 965 | 36 | 27.9
26.10.22 12:01:01 | 25.33 | 104.34 | 67.6 | 69.01 | 30.9 | 103.39 | 69.57 | 76.53 | 64.24 | 99.71 | 53.1 | 60.28 | 63.86 | 105.55 | 59.19 | 71.9 | 68.17 | 90.37 | 65.41 | 75.24 | 49.57 | 97.02 | 58.76 | 55.59 | 54.58 | 27 | 965 | 36 | 27.9
26.10.22 12:01:16 | 25.58 | 104.04 | 67.07 | 68.74 | 30.39 | 103.09 | 69.44 | 76.25 | 64.11 | 99.41 | 52.41 | 59.74 | 63.19 | 105.4 | 58.8 | 71.63 | 67.77 | 90.23 | 65.27 | 74.83 | 49.02 | 96.73 | 58.35 | 55.07 | 54.2 | 27 | 965 | 36 | 27.9
26.10.22 12:01:31 | 25.83 | 103.89 | 66.8 | 68.34 | 30.01 | 103.24 | 68.91 | 76.25 | 64.11 | 99.26 | 52 | 59.34 | 62.79 | 105.26 | 58.54 | 71.09 | 67.5 | 89.81 | 64.99 | 74.7 | 48.74 | 96.58 | 58.35 | 54.56 | 53.81 | 27 | 965 | 36 | 27.91
26.10.22 12:01:46 | 26.08 | 104.04 | 66.53 | 68.21 | 29.63 | 102.94 | 68.91 | 76.12 | 64.11 | 99.26 | 51.58 | 59.07 | 62.39 | 105.26 | 58.28 | 71.22 | 67.37 | 89.81 | 64.72 | 74.43 | 48.32 | 96.28 | 57.94 | 54.04 | 53.24 | 27 | 965 | 36 | 27.9
26.10.22 12:02:01 | 26.33 | 104.04 | 66.4 | 68.21 | 29.25 | 103.24 | 68.78 | 75.98 | 64.37 | 99.41 | 51.31 | 58.81 | 62.39 | 105.55 | 58.28 | 71.09 | 67.37 | 89.53 | 64.86 | 74.3 | 48.04 | 96.28 | 57.94 | 53.66 | 53.05 | 27 | 965 | 36 | 27.9
26.10.22 12:02:16 | 26.58 | 104.04 | 66.13 | 67.94 | 28.87 | 103.24 | 68.39 | 75.84 | 63.97 | 99.41 | 50.76 | 58.4 | 62.12 | 105.4 | 58.02 | 70.82 | 66.84 | 89.67 | 64.72 | 74.03 | 47.48 | 95.99 | 57.8 | 53.27 | 52.67 | 27 | 965 | 36 | 27.9
26.10.22 12:02:31 | 26.83 | 103.89 | 65.87 | 67.67 | 28.49 | 102.94 | 68.26 | 75.98 | 63.84 | 99.26 | 50.35 | 58.14 | 61.45 | 105.26 | 57.89 | 70.55 | 66.7 | 89.24 | 64.31 | 73.9 | 47.21 | 95.69 | 57.53 | 52.76 | 52.67 | 27 | 965 | 36 | 27.9
26.10.22 12:02:46 | 27.08 | 103.74 | 65.33 | 67.53 | 28.11 | 102.94 | 67.86 | 75.56 | 63.44 | 98.97 | 50.08 | 57.6 | 61.05 | 105.11 | 57.64 | 70.41 | 66.44 | 88.96 | 63.89 | 73.49 | 46.51 | 95.55 | 57.25 | 52.12 | 52.1 | 27 | 965 | 36 | 27.9
26.10.22 12:03:01 | 27.33 | 103.74 | 65.47 | 67.4 | 27.6 | 102.8 | 67.73 | 75.7 | 63.44 | 99.12 | 49.8 | 57.34 | 60.79 | 105.11 | 57.51 | 70.41 | 66.31 | 89.1 | 63.76 | 73.23 | 46.23 | 95.55 | 57.25 | 51.73 | 51.72 | 27 | 965 | 36 | 27.9
26.10.22 12:03:16 | 27.58 | 103.74 | 65.33 | 67.4 | 27.35 | 102.94 | 67.6 | 75.84 | 63.17 | 99.12 | 49.53 | 57.07 | 60.52 | 105.26 | 57.38 | 70.28 | 66.17 | 88.82 | 63.48 | 73.09 | 45.96 | 95.4 | 56.98 | 51.48 | 51.72 | 27 | 965 | 36 | 27.9

## Oxygen Orginal
Measurement Name : | 20221026_SDR641_Plate9 |  | Generated On : | 26/10/2022, 12:03:43 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000641 MUX channel : ON - 01 PARAMETERS Sig LED current : 045 Ref LED current : 095 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 26/10/2022, 11:35:41 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 26/10/2022, 12:03:25 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-641 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
26.10.22 11:35:43 | 0.03 | 122.16 | 88.62 | 105.06 | 79.06 | 132.15 | 105.22 | 92.12 | 93.19 | 116.37 | 100.01 | 103.32 | 80.24 | 137.51 | 107.29 | 113.91 | 104.27 | 112.45 | 94.11 | 120.33 | 88.16 | 109.7 | 97.21 | 101.43 | 90.9 | 27 | 965 | 36 | 27.08 | 965D6-(E1);
26.10.22 11:35:58 | 0.28 | 93.04 | 87.71 | 98.76 | 76.56 | 100.64 | 106.17 | 87.86 | 89.83 | 101.9 | 88.77 | 100.17 | 83.06 | 106.81 | 98.92 | 102.53 | 89.98 | 117.19 | 97.52 | 106.17 | 80.68 | 94.42 | 97.21 | 95.97 | 84.85 | 27 | 965 | 36 | 27.15 | 965D6-(E1);
26.10.22 11:36:13 | 0.53 | 123.33 | 90.59 | 103.48 | 73.51 | 112.45 | 103.79 | 86.2 | 76.71 | 104.9 | 83.21 | 97.67 | 86.8 | 117.52 | 88.62 | 92.42 | 110.18 | 124.67 | 91.35 | 103.79 | 81.57 | 107.45 | 90.29 | 95.97 | 84.4 | 27 | 965 | 36 | 27.19 | 965D6-(E1);
26.10.22 11:36:28 | 0.78 | 131.8 | 105.7 | 122.33 | 92.88 | 132.83 | 107.29 | 113.26 | 96.12 | 142.07 | 117.52 | 108.25 | 99.7 | 146.16 | 113.26 | 132.49 | 105.86 | 121.16 | 107.29 | 124.84 | 105.38 | 121.82 | 111.96 | 119.5 | 100.64 | 27 | 965 | 36 | 27.26 | 965D6-(E1);
26.10.22 11:36:43 | 1.03 | 125.01 | 87.26 | 98.45 | 78.32 | 122.33 | 101.11 | 93.19 | 90.44 | 112.77 | 83.06 | 105.54 | 93.04 | 125.68 | 91.66 | 98.92 | 98.61 | 111.64 | 98.76 | 114.4 | 89.38 | 104.11 | 91.51 | 107.13 | 86.05 | 27 | 965 | 36 | 27.29 | 965D6-(E1);
26.10.22 11:36:58 | 1.28 | 84.1 | 94.11 | 88.16 | 77.44 | 116.86 | 87.11 | 83.06 | 86.05 | 109.86 | 83.8 | 87.86 | 80.24 | 101.11 | 93.96 | 101.74 | 93.81 | 112.45 | 101.43 | 112.61 | 90.44 | 115.71 | 86.65 | 93.81 | 78.03 | 27 | 965 | 36 | 27.32 | 965D6-(E1);
26.10.22 11:37:13 | 1.53 | 126.36 | 92.58 | 94.73 | 69.33 | 112.45 | 92.73 | 88.31 | 91.05 | 108.89 | 86.65 | 97.52 | 81.13 | 110.34 | 89.38 | 105.06 | 93.35 | 117.85 | 96.74 | 108.57 | 90.29 | 121.32 | 100.8 | 94.11 | 78.03 | 27 | 965 | 36 | 27.33 | 965D6-(E1);
26.10.22 11:37:28 | 1.78 | 120.99 | 90.74 | 98.45 | 77.15 | 112.29 | 93.96 | 96.9 | 76.86 | 128.56 | 84.1 | 103.32 | 89.68 | 128.22 | 97.21 | 102.84 | 90.14 | 121.49 | 87.86 | 106.49 | 79.21 | 115.87 | 86.05 | 97.05 | 98.76 | 27 | 965 | 36 | 27.36 | 965D6-(E1);
26.10.22 11:37:43 | 2.03 | 109.86 | 87.56 | 87.71 | 68.76 | 108.57 | 93.81 | 80.39 | 74.23 | 99.54 | 68.9 | 89.07 | 71.92 | 104.43 | 78.91 | 91.97 | 91.51 | 103.95 | 84.85 | 85.75 | 81.87 | 105.22 | 74.09 | 94.27 | 74.38 | 27 | 965 | 36 | 27.4 | 965D6-(E1);
26.10.22 11:37:58 | 2.28 | 116.53 | 77.59 | 79.65 | 75.83 | 97.05 | 88.92 | 90.14 | 75.98 | 110.67 | 92.27 | 78.18 | 80.09 | 119.33 | 110.02 | 100.95 | 97.21 | 109.54 | 92.12 | 116.37 | 78.03 | 102.05 | 85 | 102.69 | 77.15 | 27 | 965 | 36 | 27.41 | 965D6-(E1);
26.10.22 11:38:13 | 2.53 | 89.38 | 71.05 | 81.72 | 57.65 | 89.38 | 80.83 | 76.42 | 63.79 | 94.88 | 68.33 | 83.21 | 59.32 | 103.79 | 73.51 | 79.65 | 76.71 | 96.28 | 78.03 | 85 | 70.76 | 91.97 | 64.64 | 80.09 | 54.49 | 27 | 965 | 36 | 27.44 | 965D6-(E1);
26.10.22 11:38:28 | 2.78 | 114.4 | 80.09 | 87.26 | 67.76 | 113.26 | 90.29 | 83.21 | 72.49 | 106.81 | 69.33 | 85 | 80.83 | 108.89 | 98.61 | 95.04 | 104.9 | 113.75 | 85.9 | 94.42 | 80.09 | 85 | 84.25 | 84.7 | 70.05 | 27 | 965 | 36 | 27.47 | 965D6-(E1);
26.10.22 11:38:43 | 3.03 | 121.16 | 90.59 | 91.05 | 64.92 | 107.93 | 90.9 | 85.15 | 86.35 | 104.9 | 75.83 | 83.51 | 71.92 | 127.2 | 93.35 | 97.05 | 81.42 | 113.75 | 88.47 | 95.04 | 72.93 | 100.95 | 84.4 | 92.88 | 77 | 27 | 965 | 36 | 27.49 | 965D6-(E1);
26.10.22 11:38:58 | 3.28 | 112.29 | 84.1 | 80.53 | 68.47 | 107.45 | 92.12 | 85.9 | 73.65 | 97.21 | 80.09 | 88.01 | 79.8 | 101.58 | 88.01 | 99.23 | 91.2 | 111.8 | 79.21 | 105.54 | 85.6 | 119.17 | 89.83 | 93.5 | 65.77 | 27 | 965 | 36 | 27.51 | 965D6-(E1);
26.10.22 11:39:13 | 3.53 | 94.73 | 82.91 | 91.05 | 67.9 | 117.02 | 89.07 | 86.35 | 81.42 | 100.8 | 89.68 | 98.76 | 83.65 | 111.15 | 95.5 | 100.48 | 89.07 | 112.77 | 85.3 | 109.54 | 76.42 | 109.38 | 74.96 | 89.53 | 77.59 | 27 | 965 | 36 | 27.54 | 965D6-(E1);
26.10.22 11:39:28 | 3.78 | 117.19 | 80.53 | 78.18 | 69.47 | 107.13 | 89.22 | 84.4 | 76.42 | 86.2 | 73.36 | 75.25 | 73.65 | 106.02 | 91.51 | 96.74 | 88.01 | 98.29 | 72.93 | 91.66 | 69.9 | 84.25 | 81.87 | 81.72 | 65.91 | 27 | 965 | 36 | 27.54 | 965D6-(E1);
26.10.22 11:39:43 | 4.03 | 116.04 | 89.83 | 94.11 | 69.76 | 121.16 | 98.61 | 97.52 | 80.39 | 117.02 | 94.42 | 99.23 | 90.44 | 124.5 | 95.35 | 94.27 | 93.35 | 115.55 | 87.56 | 102.53 | 86.95 | 109.22 | 88.62 | 96.9 | 74.09 | 27 | 965 | 36 | 27.58 | 965D6-(E1);
26.10.22 11:39:58 | 4.28 | 116.53 | 96.59 | 87.26 | 73.94 | 114.89 | 105.38 | 103.32 | 89.53 | 122.49 | 100.95 | 110.02 | 102.21 | 125.18 | 107.61 | 108.09 | 106.02 | 125.51 | 91.2 | 116.53 | 89.38 | 123.5 | 94.73 | 101.11 | 93.65 | 27 | 965 | 36 | 27.6 | 965D6-(E1);
26.10.22 11:40:13 | 4.53 | 132.66 | 98.45 | 97.21 | 69.33 | 131.29 | 109.86 | 104.74 | 87.41 | 126.69 | 103.95 | 97.36 | 87.41 | 143.84 | 102.69 | 101.74 | 95.35 | 132.15 | 97.52 | 129.92 | 95.66 | 129.24 | 104.74 | 116.69 | 92.58 | 27 | 965 | 36 | 27.61 | 965D6-(E1);
26.10.22 11:40:28 | 4.78 | 98.76 | 86.2 | 75.69 | 63.51 | 99.7 | 88.16 | 93.04 | 70.91 | 97.98 | 86.95 | 96.43 | 73.22 | 136.12 | 95.19 | 90.29 | 88.01 | 114.4 | 80.53 | 98.61 | 74.96 | 106.49 | 81.13 | 88.16 | 66.76 | 27 | 965 | 36 | 27.64 | 965D6-(E1);
26.10.22 11:40:43 | 5.03 | 99.23 | 73.51 | 71.77 | 56.83 | 92.12 | 88.16 | 74.96 | 67.33 | 104.43 | 66.05 | 76.12 | 68.19 | 106.17 | 79.21 | 87.41 | 85.9 | 96.74 | 80.98 | 95.97 | 66.76 | 96.59 | 78.76 | 78.62 | 69.19 | 27 | 965 | 36 | 27.65 | 965D6-(E1);
26.10.22 11:40:58 | 5.28 | 135.94 | 87.11 | 80.09 | 56.55 | 112.29 | 90.9 | 82.17 | 82.17 | 97.67 | 78.32 | 78.32 | 67.9 | 122.49 | 82.91 | 88.31 | 80.98 | 121.82 | 67.33 | 103.95 | 70.62 | 101.43 | 68.19 | 81.57 | 75.83 | 27 | 965 | 36 | 27.66 | 965D6-(E1);
26.10.22 11:41:13 | 5.53 | 89.38 | 77.59 | 81.72 | 60.57 | 100.17 | 83.95 | 70.33 | 69.62 | 101.74 | 79.35 | 89.22 | 73.51 | 105.7 | 83.06 | 94.42 | 76.86 | 93.5 | 80.09 | 105.7 | 79.06 | 92.42 | 82.46 | 85 | 66.05 | 27 | 965 | 36 | 27.68 | 965D6-(E1);
26.10.22 11:41:28 | 5.78 | 89.07 | 71.63 | 73.22 | 47.98 | 108.89 | 80.24 | 72.93 | 70.91 | 94.73 | 64.92 | 89.07 | 68.9 | 80.83 | 65.49 | 81.57 | 67.47 | 104.9 | 76.86 | 80.39 | 57.79 | 94.11 | 68.62 | 68.62 | 58.62 | 27 | 965 | 36 | 27.69 | 965D6-(E1);
26.10.22 11:41:43 | 6.03 | 111.15 | 70.48 | 69.04 | 50.13 | 108.25 | 74.09 | 70.91 | 62.81 | 86.95 | 69.19 | 77.44 | 62.95 | 101.43 | 77 | 76.27 | 72.78 | 100.33 | 66.91 | 97.98 | 69.62 | 94.42 | 70.05 | 78.03 | 62.67 | 27 | 965 | 36 | 27.72 | 965D6-(E1);
26.10.22 11:41:58 | 6.28 | 126.02 | 90.29 | 88.92 | 81.13 | 139.08 | 103.63 | 96.28 | 86.35 | 119.33 | 96.28 | 108.89 | 94.73 | 133.35 | 92.42 | 107.29 | 106.17 | 114.56 | 90.44 | 118.18 | 84.55 | 118.18 | 89.38 | 99.39 | 85.3 | 27 | 965 | 36 | 27.74 | 965D6-(E1);
26.10.22 11:42:13 | 6.53 | 132.49 | 87.11 | 90.9 | 64.36 | 111.47 | 88.62 | 88.16 | 94.58 | 106.81 | 87.71 | 92.42 | 78.62 | 105.54 | 92.73 | 97.83 | 86.35 | 120.16 | 74.67 | 109.54 | 80.09 | 105.86 | 67.19 | 90.9 | 61.97 | 27 | 965 | 36 | 27.75 | 965D6-(E1);
26.10.22 11:42:28 | 6.78 | 134.39 | 90.14 | 92.58 | 79.8 | 132.83 | 98.14 | 93.35 | 79.06 | 111.96 | 84.4 | 104.43 | 83.8 | 119.5 | 100.01 | 95.97 | 100.64 | 129.24 | 79.06 | 117.35 | 84.4 | 104.74 | 86.5 | 90.59 | 76.71 | 27 | 965 | 36 | 27.78 | 965D6-(E1);
26.10.22 11:42:43 | 7.03 | 124.33 | 87.56 | 89.53 | 71.92 | 113.26 | 99.23 | 93.04 | 77 | 109.06 | 84.7 | 92.42 | 74.23 | 130.6 | 92.73 | 95.81 | 84.7 | 119.5 | 81.42 | 96.12 | 85 | 99.39 | 83.65 | 102.37 | 74.23 | 27 | 965 | 36 | 27.79 | 965D6-(E1);
26.10.22 11:42:58 | 7.28 | 121.32 | 77 | 81.13 | 59.87 | 114.56 | 82.17 | 86.2 | 70.19 | 98.45 | 72.2 | 85.6 | 71.34 | 134.9 | 71.34 | 88.31 | 86.2 | 116.69 | 80.39 | 87.86 | 66.05 | 92.12 | 76.71 | 83.65 | 64.92 | 27 | 965 | 36 | 27.82 | 965D6-(E1);
26.10.22 11:43:13 | 7.53 | 114.24 | 82.17 | 85.6 | 63.23 | 104.74 | 82.17 | 85 | 71.2 | 97.05 | 74.52 | 94.11 | 67.47 | 102.37 | 81.72 | 93.19 | 91.05 | 114.07 | 75.1 | 103.16 | 74.09 | 99.39 | 77.59 | 89.98 | 62.95 | 27 | 965 | 36 | 27.83 | 965D6-(E1);
26.10.22 11:43:28 | 7.78 | 120.99 | 66.2 | 71.2 | 38.44 | 80.98 | 63.51 | 73.8 | 52.58 | 89.53 | 60.15 | 75.98 | 49.59 | 88.31 | 70.19 | 71.2 | 72.49 | 105.06 | 61.83 | 79.5 | 56.41 | 102.69 | 57.65 | 69.62 | 48.11 | 27 | 965 | 36 | 27.85 | 965D6-(E1);
26.10.22 11:43:43 | 8.03 | 141.72 | 83.51 | 79.94 | 53.94 | 99.86 | 86.95 | 73.8 | 65.63 | 96.74 | 75.25 | 89.83 | 61.27 | 105.06 | 78.76 | 88.01 | 77.59 | 104.58 | 70.76 | 105.38 | 61.13 | 90.44 | 77 | 85.3 | 69.76 | 27 | 965 | 36 | 27.86 | 965D6-(E1);
26.10.22 11:43:59 | 8.3 | 108.57 | 84.85 | 86.2 | 62.39 | 121.49 | 98.76 | 93.19 | 76.71 | 110.51 | 87.86 | 96.59 | 72.64 | 108.25 | 92.88 | 96.59 | 92.73 | 115.87 | 78.47 | 102.69 | 68.76 | 111.47 | 86.05 | 98.14 | 78.03 | 27 | 965 | 36 | 27.88 | 965D6-(E1);
26.10.22 11:44:14 | 8.55 | 112.93 | 84.7 | 98.61 | 60.71 | 107.77 | 95.66 | 86.35 | 75.83 | 110.99 | 70.48 | 87.11 | 66.34 | 111.96 | 75.1 | 97.98 | 86.95 | 107.77 | 72.78 | 95.81 | 73.07 | 92.58 | 86.35 | 86.65 | 76.42 | 27 | 965 | 36 | 27.9 | 965D6-(E1);
26.10.22 11:44:29 | 8.8 | 93.81 | 75.1 | 79.8 | 56 | 120 | 92.12 | 94.27 | 70.76 | 100.01 | 78.62 | 84.55 | 63.65 | 115.55 | 76.86 | 87.41 | 80.09 | 110.51 | 79.94 | 114.56 | 66.2 | 105.54 | 66.91 | 87.71 | 72.49 | 27 | 965 | 36 | 27.9 | 965D6-(E1);
26.10.22 11:44:44 | 9.05 | 131.8 | 88.47 | 95.5 | 58.76 | 114.24 | 94.27 | 89.07 | 72.64 | 106.65 | 82.02 | 92.42 | 75.25 | 127.71 | 89.68 | 86.95 | 87.41 | 130.78 | 82.17 | 100.48 | 70.33 | 102.37 | 81.13 | 95.81 | 62.53 | 27 | 965 | 36 | 27.91 | 965D6-(E1);
26.10.22 11:44:59 | 9.3 | 110.51 | 73.22 | 75.4 | 42.51 | 112.77 | 77.59 | 78.03 | 62.11 | 83.36 | 65.35 | 65.35 | 53.94 | 107.93 | 78.18 | 83.51 | 70.76 | 87.26 | 61.97 | 82.76 | 60.43 | 87.41 | 70.05 | 72.64 | 56.55 | 27 | 965 | 36 | 27.93 | 965D6-(E1);
26.10.22 11:45:14 | 9.55 | 110.02 | 72.06 | 81.57 | 46.1 | 104.74 | 78.18 | 73.22 | 63.37 | 88.31 | 65.2 | 77.88 | 61.41 | 106.17 | 65.06 | 83.8 | 76.86 | 90.29 | 59.32 | 101.27 | 60.99 | 106.17 | 68.47 | 85.9 | 58.07 | 27 | 965 | 36 | 27.94 | 965D6-(E1);
26.10.22 11:45:29 | 9.8 | 116.86 | 99.39 | 100.33 | 63.79 | 127.54 | 100.64 | 108.89 | 77.59 | 131.12 | 86.35 | 97.52 | 76.71 | 124.33 | 98.92 | 102.05 | 101.9 | 124.67 | 90.9 | 127.37 | 85.15 | 124.33 | 83.36 | 100.17 | 79.65 | 27 | 965 | 36 | 27.96 | 965D6-(E1);
26.10.22 11:45:44 | 10.05 | 105.22 | 77.73 | 77.15 | 45.03 | 101.11 | 77.73 | 81.87 | 64.08 | 101.58 | 77 | 67.47 | 63.37 | 115.55 | 80.53 | 91.05 | 75.1 | 109.54 | 69.19 | 93.96 | 59.6 | 88.62 | 73.8 | 79.35 | 50.13 | 27 | 965 | 36 | 27.97 | 965D6-(E1);
26.10.22 11:45:59 | 10.3 | 138.91 | 85.75 | 89.22 | 60.57 | 126.36 | 91.81 | 95.81 | 78.62 | 116.86 | 77.15 | 105.86 | 77.44 | 117.02 | 85.9 | 91.51 | 86.35 | 119.17 | 78.47 | 106.49 | 65.06 | 96.59 | 71.92 | 87.71 | 73.36 | 27 | 965 | 36 | 27.97 | 965D6-(E1);
26.10.22 11:46:14 | 10.55 | 130.95 | 88.47 | 84.55 | 59.87 | 110.99 | 94.11 | 99.86 | 74.23 | 112.61 | 78.32 | 101.11 | 70.62 | 128.73 | 82.17 | 95.5 | 85.9 | 114.73 | 87.86 | 108.41 | 72.35 | 119.66 | 74.23 | 97.98 | 61.83 | 27 | 965 | 36 | 28 | 965D6-(E1);
26.10.22 11:46:29 | 10.8 | 99.54 | 76.42 | 69.76 | 50.13 | 99.39 | 80.68 | 68.33 | 54.9 | 101.9 | 61.27 | 67.76 | 62.95 | 129.24 | 70.19 | 71.77 | 72.35 | 99.07 | 67.19 | 91.81 | 55.72 | 97.83 | 69.9 | 70.05 | 58.21 | 27 | 965 | 36 | 28.01 | 965D6-(E1);
26.10.22 11:46:44 | 11.05 | 125.51 | 75.98 | 78.32 | 40.67 | 96.74 | 82.61 | 73.94 | 60.85 | 97.36 | 61.41 | 83.51 | 59.87 | 94.27 | 67.19 | 75.1 | 73.8 | 107.45 | 62.67 | 76.71 | 58.62 | 92.12 | 64.78 | 90.14 | 53.26 | 27 | 965 | 36 | 28.01 | 965D6-(E1);
26.10.22 11:46:59 | 11.3 | 125.34 | 82.31 | 94.42 | 62.95 | 134.21 | 101.74 | 99.54 | 80.09 | 110.99 | 79.35 | 92.73 | 76.27 | 108.73 | 98.76 | 103.48 | 91.81 | 122.49 | 81.42 | 103 | 76.56 | 109.22 | 60.57 | 100.17 | 71.05 | 27 | 965 | 36 | 28.03 | 965D6-(E1);
26.10.22 11:47:14 | 11.55 | 128.9 | 100.01 | 96.9 | 70.91 | 128.22 | 108.73 | 102.05 | 83.95 | 117.85 | 95.97 | 96.59 | 80.98 | 135.25 | 101.74 | 101.43 | 100.48 | 127.2 | 94.11 | 114.89 | 89.38 | 122.49 | 88.16 | 96.28 | 69.76 | 27 | 965 | 36 | 28.07 | 965D6-(E1);
26.10.22 11:47:29 | 11.8 | 111.64 | 74.67 | 93.04 | 45.43 | 120.16 | 83.36 | 93.5 | 73.94 | 104.27 | 87.11 | 78.62 | 68.19 | 125.51 | 84.55 | 88.16 | 88.01 | 118.51 | 77 | 104.74 | 69.76 | 109.7 | 64.78 | 90.44 | 65.06 | 27 | 965 | 36 | 28.08 | 965D6-(E1);
26.10.22 11:47:45 | 12.07 | 139.26 | 89.22 | 89.22 | 65.35 | 126.19 | 93.96 | 91.66 | 76.56 | 115.71 | 85.15 | 87.71 | 78.91 | 122.99 | 92.27 | 95.5 | 88.16 | 120 | 84.55 | 95.66 | 77.59 | 110.51 | 66.05 | 99.54 | 64.36 | 27 | 965 | 36 | 28.08 | 965D6-(E1);
26.10.22 11:48:00 | 12.32 | 111.64 | 67.76 | 77 | 40.54 | 89.07 | 72.93 | 78.62 | 67.47 | 93.35 | 63.37 | 71.92 | 66.62 | 103.95 | 75.98 | 81.87 | 79.35 | 111.64 | 68.19 | 83.51 | 60.85 | 96.59 | 68.47 | 69.19 | 58.76 | 27 | 965 | 36 | 28.11 | 965D6-(E1);
26.10.22 11:48:15 | 12.57 | 154.29 | 90.29 | 86.35 | 56.96 | 131.97 | 106.65 | 96.59 | 81.57 | 117.68 | 78.91 | 79.94 | 75.1 | 126.36 | 91.35 | 111.96 | 91.66 | 114.4 | 90.59 | 118.18 | 74.67 | 119.33 | 96.43 | 94.73 | 76.42 | 27 | 965 | 36 | 28.14 | 965D6-(E1);
26.10.22 11:48:30 | 12.82 | 146.34 | 91.2 | 92.27 | 65.77 | 149.39 | 97.83 | 101.27 | 85.15 | 123.83 | 73.8 | 98.29 | 96.43 | 141.02 | 92.73 | 97.67 | 105.06 | 126.02 | 76.42 | 114.73 | 68.9 | 113.75 | 78.32 | 95.35 | 63.65 | 27 | 965 | 36 | 28.15 | 965D6-(E1);
26.10.22 11:48:45 | 13.07 | 146.16 | 94.42 | 85.45 | 55.31 | 121.82 | 91.51 | 93.5 | 75.69 | 110.83 | 74.81 | 80.09 | 71.2 | 134.39 | 79.06 | 94.27 | 84.85 | 126.02 | 77.88 | 112.45 | 72.06 | 104.43 | 75.4 | 95.97 | 62.25 | 27 | 965 | 36 | 28.18 | 965D6-(E1);
26.10.22 11:49:00 | 13.32 | 114.89 | 88.47 | 86.35 | 55.04 | 113.1 | 94.27 | 90.59 | 74.52 | 110.83 | 72.35 | 78.32 | 70.62 | 117.35 | 77.3 | 90.59 | 84.55 | 110.99 | 73.22 | 94.73 | 66.48 | 109.86 | 72.2 | 81.42 | 57.79 | 27 | 965 | 36 | 28.18
26.10.22 11:49:15 | 13.57 | 114.89 | 88.16 | 86.05 | 54.22 | 113.26 | 94.11 | 90.44 | 74.38 | 110.99 | 71.77 | 77.88 | 70.33 | 117.35 | 77 | 90.29 | 84.4 | 110.99 | 72.93 | 94.58 | 66.05 | 109.7 | 71.77 | 80.98 | 57.38 | 27 | 965 | 36 | 28.19
26.10.22 11:49:30 | 13.82 | 114.56 | 87.86 | 85.6 | 53.12 | 113.1 | 93.65 | 90.29 | 73.94 | 110.67 | 70.91 | 77.15 | 70.05 | 117.35 | 76.42 | 89.68 | 83.8 | 110.67 | 72.2 | 94.11 | 65.49 | 109.7 | 70.91 | 80.39 | 56.55 | 27 | 965 | 36 | 28.16
26.10.22 11:49:45 | 14.07 | 114.73 | 87.26 | 85.3 | 52.58 | 112.77 | 93.5 | 89.83 | 73.8 | 110.67 | 70.62 | 76.71 | 69.9 | 117.52 | 75.98 | 89.53 | 83.51 | 110.51 | 71.77 | 93.96 | 65.06 | 109.7 | 70.62 | 80.39 | 56 | 27 | 965 | 36 | 28.14
26.10.22 11:50:00 | 14.32 | 114.56 | 87.11 | 85 | 51.9 | 112.93 | 93.19 | 89.68 | 73.8 | 110.67 | 69.9 | 76.42 | 69.62 | 117.52 | 75.4 | 89.38 | 83.21 | 110.34 | 71.2 | 93.65 | 64.36 | 109.38 | 70.19 | 80.09 | 55.45 | 27 | 965 | 36 | 28.11
26.10.22 11:50:15 | 14.57 | 114.56 | 86.8 | 84.7 | 51.22 | 113.1 | 93.04 | 89.68 | 73.36 | 110.83 | 69.47 | 76.27 | 69.76 | 117.52 | 75.1 | 88.92 | 83.36 | 110.18 | 71.05 | 93.5 | 64.08 | 109.7 | 69.62 | 79.8 | 55.04 | 27 | 965 | 36 | 28.08
26.10.22 11:50:30 | 14.82 | 114.24 | 86.65 | 84.1 | 50.68 | 112.77 | 92.58 | 89.22 | 73.36 | 110.83 | 68.62 | 75.83 | 69.76 | 117.35 | 74.52 | 88.47 | 82.91 | 109.7 | 70.62 | 92.58 | 63.51 | 109.22 | 69.47 | 79.35 | 54.49 | 27 | 965 | 36 | 28.08
26.10.22 11:50:45 | 15.07 | 114.4 | 86.2 | 83.51 | 49.86 | 112.93 | 92.27 | 89.07 | 73.07 | 110.83 | 67.9 | 75.69 | 69.9 | 117.68 | 74.23 | 88.01 | 82.61 | 109.38 | 70.33 | 92.42 | 62.81 | 109.38 | 69.04 | 79.21 | 54.08 | 27 | 965 | 36 | 28.08
26.10.22 11:51:00 | 15.32 | 114.4 | 86.2 | 83.36 | 49.32 | 113.1 | 92.12 | 88.77 | 73.07 | 110.83 | 67.05 | 75.54 | 70.05 | 117.68 | 73.8 | 87.71 | 82.61 | 109.22 | 70.19 | 92.12 | 62.25 | 109.38 | 68.76 | 78.91 | 53.53 | 27 | 965 | 36 | 28.07
26.10.22 11:51:15 | 15.57 | 114.4 | 85.6 | 82.61 | 48.65 | 112.93 | 91.66 | 88.77 | 72.49 | 110.83 | 66.48 | 75.1 | 70.05 | 117.68 | 73.22 | 86.95 | 82.17 | 108.89 | 70.05 | 91.66 | 62.11 | 109.22 | 68.62 | 78.62 | 53.12 | 27 | 965 | 36 | 28.05
26.10.22 11:51:30 | 15.82 | 114.24 | 85.45 | 82.31 | 48.11 | 113.1 | 91.51 | 88.31 | 72.2 | 110.67 | 65.77 | 74.96 | 70.33 | 117.85 | 72.78 | 86.5 | 82.02 | 108.41 | 69.76 | 91.2 | 61.69 | 109.06 | 68.19 | 78.32 | 52.44 | 27 | 965 | 36 | 28.04
26.10.22 11:51:45 | 16.07 | 114.24 | 85.15 | 82.17 | 47.57 | 112.93 | 90.9 | 88.01 | 72.06 | 110.67 | 65.35 | 74.81 | 70.48 | 118.01 | 72.78 | 86.05 | 81.72 | 108.25 | 69.9 | 91.2 | 61.55 | 108.73 | 67.9 | 78.03 | 52.17 | 27 | 965 | 36 | 28.04
26.10.22 11:52:00 | 16.32 | 114.24 | 84.55 | 81.72 | 46.9 | 113.1 | 90.59 | 87.86 | 72.06 | 110.51 | 64.78 | 74.67 | 70.48 | 117.85 | 72.49 | 85.45 | 81.42 | 108.09 | 70.05 | 91.05 | 61.27 | 108.73 | 67.76 | 77.73 | 51.76 | 27 | 965 | 36 | 28.03
26.10.22 11:52:15 | 16.57 | 113.91 | 84.25 | 81.42 | 46.64 | 112.93 | 90.14 | 87.86 | 71.77 | 110.67 | 63.93 | 74.23 | 70.62 | 117.68 | 72.2 | 84.85 | 80.98 | 107.61 | 69.9 | 90.74 | 60.85 | 108.57 | 67.33 | 77.3 | 51.08 | 27 | 965 | 36 | 28.01
26.10.22 11:52:30 | 16.82 | 114.07 | 83.36 | 81.13 | 46.37 | 113.1 | 89.68 | 87.71 | 71.48 | 110.34 | 62.95 | 73.94 | 70.76 | 118.01 | 72.06 | 84.85 | 80.98 | 107.29 | 70.05 | 90.59 | 60.43 | 108.57 | 67.33 | 77 | 50.68 | 27 | 965 | 36 | 28.01
26.10.22 11:52:45 | 17.07 | 114.07 | 82.91 | 80.83 | 45.97 | 113.1 | 89.22 | 87.71 | 71.63 | 110.34 | 62.39 | 73.8 | 70.76 | 118.01 | 72.06 | 84.85 | 80.53 | 106.97 | 70.05 | 90.29 | 60.15 | 108.57 | 67.05 | 76.71 | 50.27 | 27 | 965 | 36 | 28.01
26.10.22 11:53:00 | 17.32 | 114.07 | 82.31 | 80.39 | 45.7 | 113.26 | 89.07 | 87.41 | 71.63 | 110.51 | 61.97 | 73.51 | 70.91 | 118.18 | 71.92 | 84.7 | 80.24 | 106.81 | 70.05 | 90.14 | 59.6 | 108.09 | 67.33 | 76.27 | 49.86 | 27 | 965 | 36 | 28.01
26.10.22 11:53:15 | 17.57 | 114.07 | 82.17 | 80.24 | 44.9 | 113.26 | 88.77 | 87.41 | 71.48 | 110.51 | 61.41 | 73.36 | 70.76 | 118.18 | 71.92 | 84.55 | 79.94 | 106.17 | 70.19 | 90.14 | 59.32 | 108.25 | 67.19 | 75.69 | 49.59 | 27 | 965 | 36 | 28.01
26.10.22 11:53:31 | 17.83 | 113.91 | 81.57 | 79.8 | 44.37 | 113.1 | 88.16 | 87.11 | 71.34 | 110.34 | 60.71 | 72.93 | 71.05 | 118.18 | 71.63 | 84.25 | 79.65 | 106.02 | 70.19 | 89.83 | 58.62 | 107.93 | 67.05 | 75.1 | 49.32 | 27 | 965 | 36 | 28.01
26.10.22 11:53:46 | 18.08 | 113.91 | 81.27 | 79.5 | 44.1 | 113.1 | 88.01 | 86.95 | 71.34 | 110.34 | 60.43 | 72.78 | 71.2 | 118.34 | 71.48 | 84.25 | 79.5 | 105.54 | 70.33 | 89.68 | 58.48 | 107.93 | 66.91 | 74.52 | 48.65 | 27 | 965 | 36 | 28.01
26.10.22 11:54:01 | 18.33 | 113.75 | 81.13 | 79.21 | 43.71 | 113.42 | 87.41 | 86.8 | 71.2 | 110.34 | 60.15 | 72.64 | 71.34 | 118.18 | 71.34 | 84.25 | 79.5 | 105.54 | 70.48 | 89.68 | 57.79 | 107.93 | 67.19 | 73.94 | 48.38 | 27 | 965 | 36 | 27.99
26.10.22 11:54:16 | 18.58 | 114.07 | 80.83 | 79.21 | 43.31 | 113.75 | 87.41 | 86.8 | 71.2 | 110.34 | 59.73 | 72.49 | 71.77 | 118.34 | 71.34 | 84.25 | 79.21 | 105.38 | 70.62 | 89.68 | 57.38 | 107.93 | 67.33 | 73.8 | 48.11 | 27 | 965 | 36 | 27.99
26.10.22 11:54:31 | 18.83 | 113.59 | 80.24 | 78.76 | 42.78 | 113.26 | 86.8 | 86.65 | 71.05 | 110.02 | 59.32 | 71.77 | 71.48 | 118.18 | 70.91 | 83.8 | 78.76 | 104.74 | 70.33 | 89.22 | 56.83 | 107.61 | 66.62 | 72.78 | 47.31 | 27 | 965 | 36 | 27.99
26.10.22 11:54:46 | 19.08 | 113.75 | 79.65 | 78.62 | 41.99 | 113.59 | 86.8 | 86.65 | 70.91 | 110.02 | 59.04 | 71.92 | 71.63 | 118.34 | 70.76 | 83.65 | 78.76 | 104.58 | 70.48 | 88.92 | 56.41 | 107.45 | 66.62 | 72.2 | 46.9 | 27 | 965 | 36 | 27.97
26.10.22 11:55:01 | 19.33 | 113.75 | 79.5 | 78.62 | 41.72 | 113.75 | 86.65 | 86.65 | 71.05 | 110.18 | 58.76 | 71.77 | 71.77 | 118.51 | 70.62 | 83.8 | 78.91 | 104.43 | 70.62 | 89.07 | 56.14 | 107.29 | 66.62 | 71.92 | 46.64 | 27 | 965 | 36 | 27.97
26.10.22 11:55:16 | 19.58 | 113.59 | 78.91 | 78.18 | 41.19 | 113.59 | 86.2 | 86.05 | 70.76 | 109.86 | 58.62 | 71.48 | 71.77 | 118.18 | 70.19 | 83.51 | 78.62 | 104.11 | 70.48 | 88.62 | 55.72 | 107.13 | 66.34 | 71.05 | 46.1 | 27 | 965 | 36 | 27.97
26.10.22 11:55:31 | 19.83 | 113.42 | 78.32 | 78.18 | 40.27 | 113.59 | 85.9 | 86.05 | 70.76 | 109.54 | 58.21 | 70.91 | 71.34 | 118.01 | 69.76 | 83.06 | 78.32 | 103.79 | 70.33 | 88.47 | 55.45 | 106.97 | 66.2 | 70.62 | 45.7 | 27 | 965 | 36 | 27.97
26.10.22 11:55:46 | 20.08 | 113.59 | 78.47 | 78.03 | 39.88 | 113.75 | 85.75 | 86.05 | 70.76 | 109.86 | 58.07 | 70.76 | 71.48 | 118.34 | 69.9 | 82.91 | 78.32 | 103.79 | 70.48 | 88.31 | 55.17 | 106.65 | 66.2 | 69.9 | 45.43 | 27 | 965 | 36 | 27.96
26.10.22 11:56:01 | 20.33 | 113.42 | 78.18 | 77.88 | 39.36 | 113.75 | 84.85 | 85.45 | 70.33 | 109.7 | 57.79 | 70.33 | 71.2 | 118.34 | 69.47 | 82.91 | 78.32 | 103.48 | 70.33 | 88.01 | 54.9 | 106.65 | 65.91 | 68.9 | 44.64 | 27 | 965 | 36 | 27.96
26.10.22 11:56:16 | 20.58 | 113.42 | 78.18 | 77.73 | 38.83 | 113.91 | 85 | 85.6 | 70.48 | 109.86 | 57.93 | 70.33 | 71.34 | 118.51 | 69.62 | 82.76 | 78.32 | 103.48 | 70.62 | 87.86 | 54.76 | 106.65 | 65.91 | 68.62 | 44.37 | 27 | 965 | 36 | 27.96
26.10.22 11:56:31 | 20.83 | 113.1 | 77.73 | 77.44 | 38.7 | 113.75 | 84.1 | 85 | 70.19 | 109.7 | 57.38 | 69.9 | 70.91 | 118.18 | 69.19 | 82.31 | 77.88 | 103 | 70.05 | 87.56 | 54.35 | 106.65 | 65.2 | 68.04 | 43.84 | 27 | 965 | 36 | 27.96
26.10.22 11:56:46 | 21.08 | 113.26 | 77.59 | 77.44 | 38.05 | 113.91 | 83.95 | 84.7 | 70.05 | 109.54 | 57.24 | 69.62 | 70.91 | 118.18 | 68.9 | 82.02 | 77.73 | 103 | 70.05 | 87.26 | 53.8 | 106.33 | 65.06 | 67.33 | 43.44 | 27 | 965 | 36 | 27.96
26.10.22 11:57:01 | 21.33 | 113.1 | 77.3 | 77.15 | 37.53 | 113.91 | 83.95 | 84.55 | 69.76 | 109.54 | 57.1 | 69.33 | 70.76 | 118.18 | 68.76 | 81.87 | 77.3 | 102.69 | 69.9 | 87.11 | 53.26 | 106.33 | 65.06 | 66.91 | 42.91 | 27 | 965 | 36 | 27.93
26.10.22 11:57:16 | 21.58 | 113.1 | 77.3 | 77 | 37.27 | 113.91 | 83.65 | 84.55 | 69.62 | 109.54 | 56.83 | 69.04 | 70.76 | 118.34 | 68.62 | 81.57 | 77.3 | 102.84 | 69.9 | 87.11 | 53.12 | 106.02 | 64.92 | 66.62 | 42.51 | 27 | 965 | 36 | 27.94
26.10.22 11:57:31 | 21.83 | 112.93 | 77 | 76.86 | 36.62 | 113.75 | 83.36 | 84.25 | 69.33 | 109.38 | 56.55 | 68.76 | 70.48 | 118.18 | 68.33 | 81.27 | 77 | 102.53 | 69.62 | 86.8 | 52.71 | 105.7 | 64.64 | 66.2 | 42.12 | 27 | 965 | 36 | 27.93
26.10.22 11:57:46 | 22.08 | 113.1 | 76.86 | 76.71 | 36.23 | 113.75 | 83.36 | 84.1 | 69.33 | 109.54 | 56.55 | 68.62 | 70.33 | 118.51 | 68.33 | 81.13 | 77 | 102.21 | 69.62 | 86.8 | 52.3 | 105.86 | 64.5 | 65.91 | 41.85 | 27 | 965 | 36 | 27.93
26.10.22 11:58:01 | 22.33 | 112.77 | 76.27 | 76.56 | 35.32 | 113.91 | 82.91 | 83.8 | 69.47 | 109.38 | 56.27 | 68.19 | 70.05 | 118.34 | 68.19 | 80.53 | 76.71 | 102.21 | 69.47 | 86.65 | 51.9 | 105.7 | 64.36 | 65.49 | 41.46 | 27 | 965 | 36 | 27.94
26.10.22 11:58:16 | 22.58 | 113.1 | 76.42 | 76.42 | 35.06 | 113.91 | 82.91 | 83.51 | 69.47 | 109.22 | 56.14 | 67.9 | 69.9 | 118.18 | 67.9 | 80.53 | 76.56 | 102.05 | 69.47 | 86.5 | 51.62 | 105.38 | 64.22 | 65.06 | 40.93 | 27 | 965 | 36 | 27.93
26.10.22 11:58:31 | 22.83 | 112.93 | 75.83 | 76.12 | 34.55 | 114.07 | 82.46 | 83.51 | 69.33 | 109.22 | 55.86 | 67.47 | 69.47 | 118.34 | 67.62 | 80.24 | 76.27 | 101.9 | 69.33 | 85.9 | 51.49 | 105.22 | 63.93 | 64.64 | 40.54 | 27 | 965 | 36 | 27.93
26.10.22 11:58:46 | 23.08 | 112.77 | 75.54 | 75.98 | 34.29 | 113.91 | 82.02 | 83.36 | 69.19 | 109.06 | 55.59 | 67.05 | 69.47 | 118.18 | 67.47 | 79.8 | 76.12 | 101.58 | 69.19 | 85.9 | 51.08 | 105.22 | 63.37 | 63.93 | 40.01 | 27 | 965 | 36 | 27.91
26.10.22 11:59:01 | 23.33 | 112.61 | 75.1 | 75.83 | 33.64 | 113.59 | 81.42 | 82.76 | 69.04 | 108.89 | 55.17 | 66.62 | 69.19 | 118.01 | 67.19 | 79.5 | 75.83 | 101.43 | 69.04 | 85.3 | 50.54 | 104.74 | 62.81 | 63.37 | 39.62 | 27 | 965 | 36 | 27.93
26.10.22 11:59:16 | 23.58 | 112.93 | 74.96 | 75.69 | 33.26 | 113.75 | 80.83 | 82.61 | 69.04 | 109.06 | 55.04 | 66.34 | 68.9 | 118.01 | 66.91 | 79.35 | 75.69 | 101.43 | 69.04 | 85.45 | 50.13 | 104.74 | 62.11 | 62.95 | 39.09 | 27 | 965 | 36 | 27.91
26.10.22 11:59:31 | 23.83 | 112.61 | 74.81 | 75.4 | 33 | 113.75 | 79.94 | 82.61 | 68.76 | 108.89 | 54.76 | 65.91 | 68.9 | 118.01 | 66.48 | 79.21 | 75.54 | 101.11 | 68.76 | 85.15 | 50 | 104.58 | 61.55 | 62.39 | 38.83 | 27 | 965 | 36 | 27.91
26.10.22 11:59:46 | 24.08 | 112.61 | 74.38 | 75.25 | 32.62 | 113.75 | 79.65 | 82.31 | 68.76 | 108.89 | 54.22 | 65.35 | 68.76 | 118.01 | 65.91 | 78.91 | 75.25 | 100.8 | 68.47 | 84.85 | 49.59 | 104.43 | 61.41 | 62.11 | 38.7 | 27 | 965 | 36 | 27.91
26.10.22 12:00:01 | 24.33 | 112.29 | 74.09 | 75.25 | 32.36 | 113.91 | 79.35 | 82.31 | 68.62 | 108.89 | 53.8 | 64.64 | 68.62 | 118.01 | 65.63 | 78.47 | 75.25 | 100.64 | 68.33 | 84.7 | 49.19 | 104.27 | 60.57 | 61.55 | 38.31 | 27 | 965 | 36 | 27.9
26.10.22 12:00:16 | 24.58 | 112.29 | 73.51 | 74.96 | 31.72 | 113.75 | 78.62 | 82.02 | 68.33 | 108.57 | 53.39 | 63.79 | 68.33 | 118.01 | 65.2 | 78.32 | 74.67 | 100.33 | 67.9 | 84.25 | 48.78 | 103.63 | 60.29 | 60.99 | 37.79 | 27 | 965 | 36 | 27.91
26.10.22 12:00:31 | 24.83 | 112.29 | 73.22 | 74.52 | 31.46 | 113.75 | 78.18 | 81.87 | 68.47 | 108.73 | 52.85 | 63.65 | 68.04 | 117.85 | 64.92 | 78.03 | 74.52 | 100.17 | 67.76 | 84.1 | 48.38 | 103.79 | 60.01 | 60.57 | 37.66 | 27 | 965 | 36 | 27.9
26.10.22 12:00:46 | 25.08 | 112.12 | 73.22 | 74.38 | 31.08 | 113.42 | 77.88 | 81.87 | 68.47 | 108.73 | 52.58 | 63.09 | 68.04 | 118.18 | 64.36 | 78.03 | 74.23 | 100.01 | 67.76 | 83.8 | 47.84 | 103.63 | 59.6 | 60.15 | 37.4 | 27 | 965 | 36 | 27.9
26.10.22 12:01:01 | 25.33 | 112.45 | 73.07 | 74.38 | 30.95 | 113.75 | 77.44 | 81.87 | 68.62 | 108.73 | 52.44 | 62.95 | 67.9 | 118.18 | 64.36 | 78.18 | 74.23 | 100.01 | 67.47 | 83.51 | 47.57 | 103.63 | 59.6 | 59.73 | 37.14 | 27 | 965 | 36 | 27.9
26.10.22 12:01:16 | 25.58 | 112.12 | 72.49 | 74.09 | 30.44 | 113.42 | 77.3 | 81.57 | 68.47 | 108.41 | 51.76 | 62.39 | 67.19 | 118.01 | 63.93 | 77.88 | 73.8 | 99.86 | 67.33 | 83.06 | 47.04 | 103.32 | 59.18 | 59.18 | 36.88 | 27 | 965 | 36 | 27.9
26.10.22 12:01:31 | 25.83 | 111.96 | 72.2 | 73.65 | 30.06 | 113.59 | 76.71 | 81.57 | 68.47 | 108.25 | 51.35 | 61.97 | 66.76 | 117.85 | 63.65 | 77.3 | 73.51 | 99.39 | 67.05 | 82.91 | 46.77 | 103.16 | 59.18 | 58.62 | 36.62 | 27 | 965 | 36 | 27.91
26.10.22 12:01:46 | 26.08 | 112.12 | 71.92 | 73.51 | 29.68 | 113.26 | 76.71 | 81.42 | 68.47 | 108.25 | 50.95 | 61.69 | 66.34 | 117.85 | 63.37 | 77.44 | 73.36 | 99.39 | 66.76 | 82.61 | 46.37 | 102.84 | 58.76 | 58.07 | 36.23 | 27 | 965 | 36 | 27.9
26.10.22 12:02:01 | 26.33 | 112.12 | 71.77 | 73.51 | 29.3 | 113.59 | 76.56 | 81.27 | 68.76 | 108.41 | 50.68 | 61.41 | 66.34 | 118.18 | 63.37 | 77.3 | 73.36 | 99.07 | 66.91 | 82.46 | 46.1 | 102.84 | 58.76 | 57.65 | 36.1 | 27 | 965 | 36 | 27.9
26.10.22 12:02:16 | 26.58 | 112.12 | 71.48 | 73.22 | 28.91 | 113.59 | 76.12 | 81.13 | 68.33 | 108.41 | 50.13 | 60.99 | 66.05 | 118.01 | 63.09 | 77 | 72.78 | 99.23 | 66.76 | 82.17 | 45.57 | 102.53 | 58.62 | 57.24 | 35.84 | 27 | 965 | 36 | 27.9
26.10.22 12:02:31 | 26.83 | 111.96 | 71.2 | 72.93 | 28.53 | 113.26 | 75.98 | 81.27 | 68.19 | 108.25 | 49.73 | 60.71 | 65.35 | 117.85 | 62.95 | 76.71 | 72.64 | 98.76 | 66.34 | 82.02 | 45.3 | 102.21 | 58.35 | 56.69 | 35.84 | 27 | 965 | 36 | 27.9
26.10.22 12:02:46 | 27.08 | 111.8 | 70.62 | 72.78 | 28.15 | 113.26 | 75.54 | 80.83 | 67.76 | 107.93 | 49.46 | 60.15 | 64.92 | 117.68 | 62.67 | 76.56 | 72.35 | 98.45 | 65.91 | 81.57 | 44.64 | 102.05 | 58.07 | 56 | 35.45 | 27 | 965 | 36 | 27.9
26.10.22 12:03:01 | 27.33 | 111.8 | 70.76 | 72.64 | 27.65 | 113.1 | 75.4 | 80.98 | 67.76 | 108.09 | 49.19 | 59.87 | 64.64 | 117.68 | 62.53 | 76.56 | 72.2 | 98.61 | 65.77 | 81.27 | 44.37 | 102.05 | 58.07 | 55.59 | 35.19 | 27 | 965 | 36 | 27.9
26.10.22 12:03:16 | 27.58 | 111.8 | 70.62 | 72.64 | 27.39 | 113.26 | 75.25 | 81.13 | 67.47 | 108.09 | 48.92 | 59.6 | 64.36 | 117.85 | 62.39 | 76.42 | 72.06 | 98.29 | 65.49 | 81.13 | 44.1 | 101.9 | 57.79 | 55.31 | 35.19 | 27 | 965 | 36 | 27.9