## Oxygen OPA
Measurement Name : | 20221026_SDR710_Plate10 |  | Generated On : | 26/10/2022, 12:04:00 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 26/10/2022, 11:35:41 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 26/10/2022, 12:03:25 | [5 empty] | O2_cal0 [°] | 54.76 |  | Adjustment at | 100 | % air saturation
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47 |  | Adjustment at | 30 | °C
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8 |  | Adjustment at | 965 | mbar
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
OPA Phase values |  | 45.64 | 45.8 | 46.09 | 45.99 | 45.98 | 46.29 | 46.27 | 46.15 | 46.11 | 45.99 | 47.11 | 46.26 | 46.48 | 45.98 | 46.93 | 48.57 | 46.58 | 46.68 | 46.08 | 47.18 | 45.83 | 47.04 | 46.32 | 46.26
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
26.10.22 11:35:43 | 0.03 | 72.58 | 95.2 | 90.91 | 105.26 | 76.86 | 80.16 | 87.43 | 97.36 | 80.94 | 80.76 | 99.35 | 89.31 | 95.31 | 69.04 | 94.91 | 129.22 | 100.77 | 92.3 | 122.59 | 103.98 | 80.65 | 87.41 | 101.5 | 82.61 | 30 | 965 | 36 | 28.83
26.10.22 11:35:58 | 0.28 | 83.37 | 80.17 | 83.19 | 93.54 | 85.3 | 81.29 | 91.9 | 89 | 89.75 | 97.26 | 98.69 | 95.86 | 99.7 | 85.43 | 100.16 | 147.85 | 92.69 | 97.67 | 98.54 | 104.48 | 87.15 | 76.77 | 99.7 | 79.24 | 30 | 965 | 36 | 28.88
26.10.22 11:36:13 | 0.53 | 81.39 | 74.63 | 76.46 | 93.26 | 79.42 | 79.46 | 90.74 | 100.59 | 94.04 | 75.09 | 85.73 | 99.4 | 88.76 | 72.99 | 94.44 | 122.69 | 97.24 | 68.36 | 86.69 | 109.02 | 88.65 | 76.61 | 91.86 | 96.74 | 30 | 965 | 36 | 28.92
26.10.22 11:36:28 | 0.78 | 83.51 | 102.14 | 74.44 | 96.11 | 85.16 | 69.8 | 92.48 | 102.66 | 94.62 | 64.84 | 83.69 | 91.48 | 91.57 | 86.54 | 99.36 | 151.62 | 105.12 | 86.57 | 95.79 | 90.72 | 59.61 | 72.84 | 96.13 | 83.46 | 30 | 965 | 36 | 28.96
26.10.22 11:36:43 | 1.03 | 78.51 | 96.6 | 80.01 | 95.54 | 90.45 | 85.68 | 81.18 | 88.57 | 84.41 | 74.42 | 107.77 | 102.69 | 97.12 | 77.12 | 79.77 | 139.1 | 82.01 | 85.52 | 117.91 | 113.1 | 77.33 | 93.73 | 89.24 | 101.49 | 30 | 965 | 36 | 28.99
26.10.22 11:36:58 | 1.28 | 95.41 | 84.47 | 85.41 | 102.77 | 99.71 | 93.2 | 93.21 | 100.44 | 91.18 | 88.2 | 98.21 | 106.47 | 109.27 | 98.56 | 106.3 | 137.58 | 95.41 | 100.31 | 90.78 | 108.17 | 106.35 | 101.79 | 90.55 | 117.6 | 30 | 965 | 36 | 29.03
26.10.22 11:37:13 | 1.53 | 83.9 | 78.45 | 88.64 | 92.98 | 100.43 | 81.57 | 90.74 | 108.06 | 95.34 | 88.48 | 72.31 | 89.6 | 101.83 | 88.91 | 81.14 | 132.63 | 100.77 | 92.61 | 91.63 | 100.16 | 103.01 | 76.92 | 88.95 | 101.79 | 30 | 965 | 36 | 29.06
26.10.22 11:37:28 | 1.78 | 87.64 | 88 | 85.97 | 99.71 | 100.73 | 78.62 | 87.29 | 84.34 | 70.62 | 94.54 | 83.85 | 90.61 | 92.91 | 81.45 | 88.81 | 131.99 | 101.7 | 81.96 | 89.78 | 79.17 | 81.86 | 107.87 | 81.65 | 101.94 | 30 | 965 | 36 | 29.1
26.10.22 11:37:43 | 2.03 | 90.34 | 91.99 | 94.49 | 102.04 | 95.11 | 98.21 | 96.15 | 107.9 | 85.94 | 109.57 | 110.12 | 123 | 106.15 | 85.43 | 90.05 | 148.51 | 109.06 | 89.57 | 124.64 | 112.92 | 82.26 | 92.77 | 93.03 | 120.13 | 30 | 965 | 36 | 29.11
26.10.22 11:37:58 | 2.28 | 87.38 | 91.03 | 85.97 | 97.4 | 89.05 | 75.28 | 89.59 | 105.05 | 110.44 | 96.11 | 96.26 | 94.1 | 93.81 | 71.14 | 87.26 | 135.85 | 106.38 | 86.12 | 86.13 | 94.6 | 100.43 | 81.05 | 75.35 | 89.16 | 30 | 965 | 36 | 29.16
26.10.22 11:38:13 | 2.53 | 89.53 | 98.16 | 87.09 | 97.11 | 99.28 | 78.48 | 74.23 | 100.59 | 92.18 | 103.65 | 111.97 | 105.1 | 104.45 | 76.05 | 80.08 | 142.14 | 89.99 | 104.23 | 104.27 | 106.66 | 68.46 | 94.21 | 93.18 | 99.26 | 30 | 965 | 36 | 29.17
26.10.22 11:38:28 | 2.78 | 86.04 | 89.65 | 78.1 | 93.83 | 91.43 | 74.87 | 80.62 | 106.85 | 90.32 | 83.77 | 92.87 | 109.52 | 100.3 | 76.99 | 92.4 | 131.14 | 99.54 | 87.92 | 102.2 | 109.69 | 80.52 | 86.94 | 98.8 | 107.99 | 30 | 965 | 36 | 29.19
26.10.22 11:38:43 | 3.03 | 64.28 | 78.05 | 72.15 | 89.45 | 90.31 | 79.46 | 72.73 | 81.14 | 79.56 | 72.3 | 93.84 | 96.45 | 96.06 | 83.1 | 100.32 | 129.86 | 76.08 | 82.4 | 101.61 | 98.19 | 71.3 | 74.95 | 79.25 | 103.44 | 30 | 965 | 36 | 29.21
26.10.22 11:38:58 | 3.28 | 77.6 | 67.66 | 74.3 | 82.53 | 92.56 | 62.68 | 70.14 | 90.14 | 74.38 | 69.14 | 83.69 | 86.58 | 79.04 | 67.34 | 84.19 | 103.4 | 96.32 | 87.77 | 105.31 | 76.99 | 83.21 | 70.14 | 88.23 | 78.69 | 30 | 965 | 36 | 29.23
26.10.22 11:39:13 | 3.53 | 89.67 | 81.78 | 83.6 | 106.89 | 91.85 | 81.29 | 91.47 | 108.06 | 90.04 | 84.87 | 83.22 | 96.3 | 92.32 | 78.88 | 91.3 | 142.36 | 95.26 | 84.92 | 90.78 | 100.66 | 77.33 | 89.92 | 101.8 | 101.79 | 30 | 965 | 36 | 29.24
26.10.22 11:39:28 | 3.78 | 77.47 | 73.2 | 80.29 | 87.5 | 81.59 | 68.04 | 87.57 | 99.41 | 86.93 | 86.53 | 98.37 | 96.59 | 94.11 | 63.34 | 88.81 | 122.27 | 88.2 | 86.12 | 100.88 | 100.5 | 74.56 | 70.44 | 97.76 | 100.89 | 30 | 965 | 36 | 29.25
26.10.22 11:39:43 | 4.03 | 82.84 | 88.28 | 74.97 | 99.86 | 86.13 | 72.26 | 59.07 | 110.64 | 74.52 | 82.8 | 98.37 | 103.29 | 82.35 | 78.74 | 82.66 | 126.26 | 93.14 | 93.37 | 92.34 | 92.81 | 62.86 | 71.64 | 83.64 | 99.26 | 30 | 965 | 36 | 29.28
26.10.22 11:39:58 | 4.28 | 91.57 | 83.52 | 75.65 | 103.79 | 86.4 | 80.16 | 74.65 | 88.72 | 71.96 | 73.89 | 87.31 | 112.92 | 108.8 | 83.37 | 84.49 | 145.65 | 94.2 | 87.47 | 121.02 | 98.03 | 72.6 | 67.17 | 92.74 | 102.99 | 30 | 965 | 36 | 29.3
26.10.22 11:40:13 | 4.53 | 75.4 | 95.2 | 78.23 | 101.89 | 89.89 | 76.95 | 88.86 | 97.8 | 86.37 | 72.17 | 115.2 | 98.51 | 102.45 | 77.66 | 90.36 | 111.1 | 93.14 | 91.24 | 115.75 | 100.16 | 110.9 | 95.33 | 86.21 | 122.04 | 30 | 965 | 36 | 29.31
26.10.22 11:40:28 | 4.78 | 94.58 | 90.47 | 88.22 | 110.77 | 111.51 | 80.72 | 95.56 | 119.6 | 92.46 | 91.42 | 97.39 | 117.76 | 105.84 | 85.85 | 95.86 | 122.06 | 98 | 103.92 | 104.72 | 106.83 | 77.86 | 92.3 | 99.7 | 117.76 | 30 | 965 | 36 | 29.34
26.10.22 11:40:43 | 5.03 | 83.77 | 89.51 | 79.19 | 101.02 | 81.59 | 79.18 | 90.16 | 104.45 | 85.8 | 90.16 | 94.16 | 109.98 | 93.36 | 78.2 | 88.03 | 138.88 | 102.16 | 89.27 | 92.77 | 107.83 | 72.08 | 84.14 | 94.21 | 107.69 | 30 | 965 | 36 | 29.35
26.10.22 11:40:58 | 5.28 | 86.04 | 93.24 | 81.11 | 104.97 | 74.45 | 95.7 | 78.39 | 106.1 | 86.22 | 82.39 | 100.49 | 120.29 | 97.27 | 82.14 | 87.42 | 131.99 | 92.84 | 97.52 | 88.09 | 109.02 | 69.49 | 82.28 | 82.36 | 110.75 | 30 | 965 | 36 | 29.38
26.10.22 11:41:13 | 5.53 | 76.95 | 96.74 | 69.89 | 103.65 | 99.42 | 77.64 | 96.59 | 107.45 | 79.01 | 94.68 | 101.31 | 94.1 | 96.66 | 78.61 | 82.35 | 131.57 | 100.31 | 91.09 | 118.22 | 93.62 | 77.46 | 90.71 | 90.26 | 99.11 | 30 | 965 | 36 | 29.38
26.10.22 11:41:28 | 5.78 | 77.34 | 87.59 | 75.11 | 91.85 | 87.93 | 91.6 | 88.15 | 93.58 | 70.49 | 81.16 | 66.15 | 97.77 | 98.48 | 73.78 | 77.36 | 130.93 | 91.48 | 88.82 | 97.81 | 83.55 | 77.46 | 76.77 | 83.92 | 107.99 | 30 | 965 | 36 | 29.41
26.10.22 11:41:43 | 6.03 | 62.55 | 73.46 | 77.82 | 92.84 | 79.69 | 73.91 | 76.3 | 91.86 | 86.08 | 90.58 | 85.26 | 81.48 | 93.96 | 71.14 | 74.97 | 129.65 | 87.45 | 97.98 | 79.48 | 96.06 | 73.64 | 71.94 | 97.31 | 100.6 | 30 | 965 | 36 | 29.42
26.10.22 11:41:58 | 6.28 | 69.91 | 72.55 | 70.15 | 86.53 | 85.99 | 88.7 | 72.45 | 93.15 | 73.71 | 70.06 | 92.07 | 92.64 | 84.08 | 79.42 | 65.99 | 133.92 | 78.67 | 87.32 | 98.4 | 90.88 | 59.61 | 78.59 | 74.38 | 99.85 | 30 | 965 | 36 | 29.42
26.10.22 11:42:13 | 6.53 | 77.73 | 80.31 | 85.97 | 96.4 | 84.88 | 67.91 | 80.2 | 97.36 | 85.66 | 76.03 | 91.75 | 103.29 | 103.52 | 72.99 | 71.41 | 126.68 | 83.77 | 95.98 | 83.62 | 86.88 | 64.25 | 73.29 | 91.13 | 90.75 | 30 | 965 | 36 | 29.45
26.10.22 11:42:28 | 6.78 | 73.09 | 85.69 | 68.96 | 95.11 | 78.61 | 74.87 | 90.16 | 96.19 | 81.49 | 88.48 | 80.11 | 113.54 | 90.68 | 69.04 | 73.19 | 144.99 | 100.93 | 98.29 | 94.35 | 81.35 | 65.65 | 107.04 | 86.79 | 94.68 | 30 | 965 | 36 | 29.48
26.10.22 11:42:43 | 7.03 | 81.66 | 82.58 | 84.85 | 103.5 | 108.22 | 78.2 | 82.59 | 96.48 | 87.35 | 94.97 | 94.8 | 118.71 | 111.63 | 65.91 | 88.65 | 148.07 | 91.03 | 90.63 | 117.91 | 86.56 | 81.72 | 96.61 | 89.39 | 114 | 30 | 965 | 36 | 29.5
26.10.22 11:42:58 | 7.28 | 87.78 | 89.37 | 87.8 | 88.06 | 77.26 | 80.3 | 70.54 | 87.02 | 86.79 | 82.53 | 102.13 | 121.72 | 91.28 | 72.33 | 70.23 | 134.13 | 91.63 | 85.22 | 116.06 | 100.66 | 67.05 | 96.13 | 87.65 | 96 | 30 | 965 | 36 | 29.53
26.10.22 11:43:13 | 7.53 | 65.77 | 79.38 | 72.69 | 92.41 | 79.69 | 63.88 | 72.59 | 98.38 | 94.76 | 73.36 | 70.65 | 99.85 | 77.62 | 73.78 | 69.35 | 125.84 | 85.09 | 84.48 | 106.5 | 85.45 | 63.62 | 88.04 | 80.1 | 87.01 | 30 | 965 | 36 | 29.58
26.10.22 11:43:28 | 7.78 | 81.92 | 86.64 | 78.23 | 100.58 | 96.4 | 97.77 | 71.5 | 108.81 | 84.96 | 87.08 | 92.87 | 110.29 | 105.22 | 86.54 | 74.37 | 124.79 | 110.96 | 91.39 | 101.17 | 114.98 | 77.19 | 81.05 | 97.16 | 96.15 | 30 | 965 | 36 | 29.6
26.10.22 11:43:43 | 8.03 | 80.08 | 83.93 | 80.01 | 99.71 | 101.89 | 84.54 | 84.57 | 101.33 | 91.03 | 91.14 | 89.36 | 106.01 | 106.31 | 85.71 | 84.65 | 157.44 | 82.59 | 92.3 | 103.09 | 93.46 | 70.91 | 74.65 | 82.22 | 112.92 | 30 | 965 | 36 | 29.63
26.10.22 11:43:59 | 8.3 | 71.82 | 77 | 68.16 | 100.29 | 73.78 | 68.99 | 66.23 | 97.21 | 79.56 | 71.5 | 80.73 | 85.59 | 84.81 | 73.92 | 77.06 | 121.01 | 81.14 | 91.39 | 88.51 | 95.74 | 61.61 | 73.59 | 82.22 | 103.44 | 30 | 965 | 36 | 29.67
26.10.22 11:44:14 | 8.55 | 76.31 | 89.1 | 81.8 | 103.79 | 79.28 | 79.6 | 65.69 | 99.26 | 78.87 | 90.3 | 89.84 | 116.5 | 94.26 | 69.17 | 97.45 | 122.9 | 104.5 | 89.27 | 97.38 | 96.55 | 66.41 | 106.55 | 96.87 | 108.6 | 30 | 965 | 36 | 29.71
26.10.22 11:44:29 | 8.8 | 74.89 | 96.88 | 87.23 | 125.37 | 87.1 | 85.68 | 77.97 | 110.79 | 109.84 | 80.62 | 93.68 | 105.71 | 103.37 | 82.82 | 76.46 | 142.36 | 115.12 | 108.04 | 104.57 | 104.81 | 87.28 | 95.65 | 109.43 | 109.52 | 30 | 965 | 36 | 29.74
26.10.22 11:44:44 | 9.05 | 84.83 | 92.41 | 79.6 | 94.4 | 93.41 | 77.23 | 62.1 | 116.32 | 81.07 | 101.31 | 89.68 | 97.77 | 87.88 | 72.33 | 93.49 | 140.62 | 105.44 | 96.44 | 110.71 | 91.2 | 70.39 | 75.4 | 86.07 | 88.88 | 30 | 965 | 36 | 29.8
26.10.22 11:44:59 | 9.3 | 80.08 | 83.93 | 91.91 | 105.12 | 91.57 | 101.5 | 83.58 | 103.56 | 97.66 | 96.83 | 103.29 | 121.24 | 104.14 | 72.85 | 79.93 | 144.33 | 108.74 | 98.14 | 104.72 | 96.55 | 86.87 | 90.71 | 78.13 | 105.41 | 30 | 965 | 36 | 29.84
26.10.22 11:45:14 | 9.55 | 72.45 | 101.86 | 92.34 | 114.85 | 104.38 | 92.91 | 81.18 | 116.01 | 98.83 | 72.3 | 84.94 | 105.86 | 92.76 | 67.47 | 82.51 | 142.14 | 116.25 | 95.51 | 116.83 | 102.98 | 79.05 | 82.13 | 90.69 | 113.38 | 30 | 965 | 36 | 29.88
26.10.22 11:45:29 | 9.8 | 78.77 | 88.28 | 77.69 | 120.84 | 93.27 | 83.12 | 82.87 | 97.07 | 87.21 | 110.47 | 92.07 | 107.38 | 112.42 | 86.26 | 83.27 | 130.29 | 94.8 | 120.21 | 81.54 | 101.49 | 72.99 | 76.77 | 80.24 | 97.33 | 30 | 965 | 36 | 29.92
26.10.22 11:45:44 | 10.05 | 77.99 | 82.85 | 75.65 | 104.09 | 79.28 | 87.83 | 81.89 | 94.74 | 82.87 | 76.83 | 89.05 | 87.01 | 92.47 | 63.59 | 75.27 | 134.78 | 78.67 | 81.22 | 106.2 | 99.34 | 86.19 | 83.83 | 78.13 | 116.19 | 30 | 965 | 36 | 29.96
26.10.22 11:45:59 | 10.3 | 73.6 | 82.58 | 63.06 | 103.06 | 79.69 | 76.95 | 71.36 | 99.12 | 84.68 | 67.7 | 72 | 85.16 | 88.32 | 72.19 | 63.53 | 126.05 | 71.24 | 88.37 | 85.29 | 80.88 | 67.18 | 82.28 | 71.21 | 99.4 | 30 | 965 | 36 | 30
26.10.22 11:46:14 | 10.55 | 64.03 | 81.64 | 76.46 | 93.4 | 83.64 | 83.55 | 79.64 | 108.51 | 66.78 | 82.8 | 80.27 | 96.3 | 96.21 | 66.04 | 71.41 | 125 | 79.68 | 86.72 | 100.29 | 87.52 | 62.61 | 85.07 | 85.07 | 84.87 | 30 | 965 | 36 | 30.03
26.10.22 11:46:29 | 10.8 | 62.55 | 75.03 | 80.7 | 103.65 | 75.25 | 80.3 | 83.72 | 98.82 | 77.64 | 81.71 | 66.9 | 96.59 | 96.97 | 72.33 | 73.63 | 121.43 | 86.86 | 72.79 | 97.52 | 87.36 | 49.92 | 74.65 | 82.22 | 102.69 | 30 | 965 | 36 | 30.09
26.10.22 11:46:44 | 11.05 | 59.97 | 68.43 | 70.82 | 82.12 | 74.85 | 68.72 | 59.99 | 83.08 | 68.76 | 67.83 | 73.67 | 97.63 | 96.97 | 68.51 | 71.12 | 126.05 | 83.77 | 86.12 | 83.06 | 96.39 | 67.31 | 64.37 | 81.09 | 119.18 | 30 | 965 | 36 | 30.13
26.10.22 11:46:59 | 11.3 | 75.15 | 79.51 | 76.87 | 104.09 | 104.08 | 87.12 | 68.11 | 109.27 | 100.88 | 93.12 | 81.04 | 106.01 | 97.12 | 76.05 | 85.11 | 133.49 | 97.09 | 108.36 | 104.72 | 97.04 | 61.11 | 77.07 | 83.21 | 101.94 | 30 | 965 | 36 | 30.17 | 965B6-(E1);
26.10.22 11:47:14 | 11.55 | 76.95 | 85.42 | 83.74 | 97.55 | 96.54 | 90.58 | 82.45 | 114.16 | 73.17 | 82.8 | 84.79 | 95.42 | 118.01 | 77.66 | 81.9 | 135.85 | 81.43 | 95.98 | 105.31 | 93.14 | 85.24 | 76.01 | 77.01 | 125.57 | 30 | 965 | 36 | 30.23
26.10.22 11:47:29 | 11.8 | 82.84 | 86.23 | 83.88 | 111.07 | 109.26 | 89.13 | 82.31 | 118.5 | 92.32 | 74.02 | 95.77 | 113.54 | 106.93 | 57.49 | 80.99 | 132.42 | 99.54 | 103.76 | 98.4 | 108.51 | 78.78 | 85.38 | 107.12 | 107.23 | 30 | 965 | 36 | 30.25
26.10.22 11:47:45 | 12.07 | 70.42 | 83.66 | 82.63 | 117.14 | 101.6 | 90.29 | 78.39 | 117.88 | 94.33 | 81.98 | 102.13 | 111.06 | 88.62 | 82.96 | 92.08 | 140.18 | 99.23 | 104.86 | 107.85 | 100.5 | 74.69 | 105.72 | 92.89 | 97.33 | 30 | 965 | 36 | 30.31
26.10.22 11:48:00 | 12.32 | 64.78 | 81.38 | 65.4 | 88.9 | 101.16 | 64.95 | 69.19 | 105.35 | 88.76 | 67.83 | 69.74 | 98.96 | 99.7 | 65.78 | 79.62 | 129.22 | 77.8 | 103.13 | 88.94 | 90.56 | 57.62 | 76.61 | 62.83 | 107.69 | 30 | 965 | 36 | 30.34
26.10.22 11:48:15 | 12.57 | 66.65 | 86.09 | 72.96 | 107.34 | 93.83 | 80.02 | 69.59 | 99.26 | 87.77 | 74.56 | 76.11 | 91.91 | 99.24 | 68.51 | 76.46 | 143.89 | 99.69 | 91.39 | 91.91 | 97.7 | 93.09 | 81.35 | 88.81 | 111.06 | 30 | 965 | 36 | 30.38
26.10.22 11:48:30 | 12.82 | 76.95 | 82.72 | 72.82 | 92.13 | 82.68 | 89.71 | 82.73 | 96.63 | 85.66 | 85.14 | 87.62 | 110.75 | 88.18 | 72.46 | 67.16 | 133.06 | 91.03 | 108.2 | 88.65 | 93.3 | 82.13 | 80.59 | 77.15 | 94.1 | 30 | 965 | 36 | 30.42
26.10.22 11:48:45 | 13.07 | 67.65 | 91.44 | 77.42 | 101.31 | 92.56 | 76.11 | 75.47 | 118.5 | 83.29 | 79.67 | 78.42 | 115.41 | 102.29 | 87.1 | 88.03 | 135.64 | 103.1 | 109.8 | 101.17 | 115.84 | 72.99 | 106.71 | 88.52 | 111.99 | 30 | 965 | 36 | 30.46
26.10.22 11:49:00 | 13.32 | 65.15 | 81.51 | 71.75 | 99.57 | 89.05 | 75.15 | 70.68 | 102.51 | 82.6 | 77.51 | 78.88 | 102.39 | 92.91 | 66.3 | 73.48 | 130.5 | 87.31 | 94.59 | 97.09 | 97.04 | 68.2 | 80.28 | 79.82 | 104.05 | 30 | 965 | 36 | 30.49
26.10.22 11:49:15 | 13.57 | 64.4 | 81.51 | 71.62 | 99.86 | 89.19 | 74.73 | 70.41 | 102.66 | 82.04 | 77.37 | 78.72 | 102.39 | 92.62 | 66.17 | 73.19 | 130.07 | 87.45 | 94.9 | 96.94 | 97.21 | 68.08 | 80.59 | 79.39 | 104.05 | 30 | 965 | 36 | 30.52
26.10.22 11:49:30 | 13.82 | 63.66 | 81.38 | 71.22 | 99.42 | 88.63 | 74.46 | 70.27 | 102.51 | 82.04 | 77.1 | 78.57 | 102.09 | 92.17 | 66.17 | 72.89 | 130.29 | 87.01 | 94.44 | 96.8 | 97.04 | 67.82 | 80.28 | 79.11 | 103.75 | 30 | 965 | 36 | 30.52
26.10.22 11:49:45 | 14.07 | 63.17 | 80.98 | 70.82 | 99.42 | 88.63 | 74.46 | 70 | 102.66 | 81.9 | 76.7 | 78.11 | 102.09 | 92.02 | 65.78 | 72.59 | 130.07 | 87.16 | 94.9 | 96.51 | 96.55 | 67.69 | 79.51 | 78.55 | 103.9 | 30 | 965 | 36 | 30.52
26.10.22 11:50:00 | 14.32 | 63.29 | 80.71 | 70.55 | 99.28 | 88.49 | 74.18 | 69.59 | 102.81 | 82.04 | 76.7 | 78.42 | 102.54 | 91.72 | 65.53 | 72.15 | 129.44 | 86.56 | 94.29 | 95.93 | 96.06 | 67.44 | 79.21 | 78.55 | 103.9 | 30 | 965 | 36 | 30.5
26.10.22 11:50:15 | 14.57 | 63.17 | 80.71 | 70.15 | 99.57 | 88.91 | 73.91 | 69.46 | 102.66 | 81.49 | 76.43 | 77.8 | 102.09 | 91.87 | 65.27 | 71.41 | 129.22 | 86.27 | 94.75 | 95.93 | 96.23 | 67.82 | 79.67 | 78.41 | 104.35 | 30 | 965 | 36 | 30.5
26.10.22 11:50:30 | 14.82 | 62.92 | 80.57 | 69.62 | 99.28 | 88.21 | 74.04 | 68.78 | 102.81 | 81.21 | 76.03 | 77.03 | 102.09 | 91.72 | 65.14 | 71.41 | 128.59 | 86.42 | 94.75 | 95.64 | 95.9 | 67.95 | 78.75 | 78.69 | 103.44 | 30 | 965 | 36 | 30.52
26.10.22 11:50:45 | 15.07 | 62.92 | 80.17 | 69.75 | 99.57 | 88.77 | 73.35 | 68.38 | 102.96 | 81.07 | 75.63 | 77.34 | 102.24 | 91.57 | 64.88 | 70.23 | 128.59 | 86.42 | 94.59 | 95.64 | 96.06 | 67.56 | 77.83 | 77.99 | 103.9 | 30 | 965 | 36 | 30.52
26.10.22 11:51:00 | 15.32 | 63.17 | 80.17 | 69.49 | 99.42 | 88.35 | 72.94 | 67.97 | 103.41 | 80.94 | 75.49 | 77.03 | 102.24 | 91.57 | 64.75 | 70.23 | 128.16 | 86.71 | 94.59 | 95.35 | 95.74 | 67.31 | 77.83 | 77.85 | 103.9 | 30 | 965 | 36 | 30.53
26.10.22 11:51:15 | 15.57 | 62.92 | 79.78 | 69.09 | 99.13 | 87.93 | 72.53 | 67.43 | 103.11 | 80.8 | 74.82 | 76.57 | 102.09 | 91.28 | 64.62 | 69.64 | 127.95 | 86.56 | 94.59 | 95.21 | 95.57 | 67.31 | 77.22 | 77.43 | 104.05 | 30 | 965 | 36 | 30.52
26.10.22 11:51:30 | 15.82 | 63.04 | 80.04 | 69.09 | 99.42 | 88.07 | 72.26 | 67.43 | 103.56 | 80.8 | 74.82 | 75.81 | 102.24 | 91.28 | 64.11 | 69.35 | 127.32 | 86.12 | 94.44 | 95.07 | 95.41 | 68.08 | 76.92 | 77.71 | 103.44 | 30 | 965 | 36 | 30.53
26.10.22 11:51:45 | 16.07 | 62.92 | 79.91 | 68.43 | 98.84 | 87.79 | 71.57 | 67.3 | 103.41 | 80.8 | 74.82 | 75.2 | 101.94 | 90.68 | 64.11 | 68.62 | 126.89 | 86.56 | 94.29 | 94.63 | 94.92 | 67.82 | 75.86 | 77.29 | 104.05 | 30 | 965 | 36 | 30.53
26.10.22 11:52:00 | 16.32 | 62.67 | 79.64 | 68.3 | 99.28 | 87.1 | 71.03 | 66.9 | 103.56 | 80.52 | 74.42 | 74.59 | 102.24 | 90.39 | 63.59 | 68.47 | 126.89 | 86.42 | 94.59 | 94.2 | 94.6 | 67.82 | 76.01 | 76.74 | 103.75 | 30 | 965 | 36 | 30.53
26.10.22 11:52:15 | 16.57 | 62.3 | 79.51 | 67.64 | 98.99 | 86.96 | 70.35 | 65.96 | 103.85 | 80.8 | 74.02 | 74.28 | 101.94 | 89.94 | 63.46 | 67.01 | 125.63 | 85.97 | 93.98 | 94.35 | 94.44 | 68.08 | 75.4 | 76.6 | 103.59 | 30 | 965 | 36 | 30.55
26.10.22 11:52:30 | 16.82 | 62.18 | 79.24 | 67.37 | 99.13 | 86.54 | 70.21 | 65.42 | 104 | 80.66 | 73.62 | 73.37 | 102.09 | 89.65 | 62.95 | 67.01 | 125.63 | 86.27 | 94.13 | 93.92 | 94.6 | 67.31 | 75.1 | 76.6 | 103.44 | 30 | 965 | 36 | 30.55
26.10.22 11:52:45 | 17.07 | 62.06 | 78.98 | 66.58 | 99.13 | 86.4 | 69.67 | 65.56 | 104 | 80.25 | 72.83 | 73.37 | 101.94 | 88.91 | 62.95 | 66.14 | 125 | 86.27 | 94.13 | 93.34 | 94.11 | 67.95 | 75.25 | 75.62 | 103.29 | 30 | 965 | 36 | 30.55
26.10.22 11:53:00 | 17.32 | 61.81 | 78.98 | 65.93 | 98.99 | 85.85 | 69.53 | 65.16 | 104 | 79.83 | 72.7 | 72.76 | 101.79 | 88.76 | 62.95 | 66.14 | 124.79 | 85.83 | 93.98 | 93.2 | 93.46 | 67.95 | 74.65 | 75.21 | 103.29 | 30 | 965 | 36 | 30.56
26.10.22 11:53:15 | 17.57 | 61.44 | 78.85 | 65.93 | 98.7 | 86.13 | 69.53 | 65.16 | 104.3 | 79.97 | 72.7 | 72.46 | 101.94 | 88.62 | 62.82 | 64.83 | 124.58 | 85.97 | 93.98 | 92.91 | 93.3 | 67.82 | 74.34 | 75.35 | 103.14 | 30 | 965 | 36 | 30.58
26.10.22 11:53:31 | 17.83 | 61.07 | 78.85 | 65.53 | 98.84 | 85.99 | 69.26 | 64.76 | 104.75 | 79.7 | 72.83 | 71.85 | 101.94 | 88.47 | 62.44 | 64.83 | 124.15 | 85.83 | 94.13 | 92.77 | 93.46 | 67.56 | 74.34 | 75.07 | 103.75 | 30 | 965 | 36 | 30.58
26.10.22 11:53:46 | 18.08 | 61.2 | 78.71 | 65.14 | 98.99 | 85.16 | 68.99 | 64.76 | 105.05 | 79.83 | 72.96 | 71.25 | 102.09 | 88.03 | 62.57 | 64.4 | 123.53 | 85.97 | 93.52 | 92.91 | 93.3 | 67.69 | 74.34 | 74.65 | 103.29 | 30 | 965 | 36 | 30.58
26.10.22 11:54:01 | 18.33 | 60.95 | 78.58 | 65.27 | 98.7 | 85.71 | 68.45 | 64.49 | 105.05 | 79.83 | 72.56 | 70.95 | 101.94 | 88.03 | 62.44 | 64.25 | 123.32 | 85.83 | 93.52 | 92.49 | 92.98 | 68.08 | 74.19 | 73.82 | 103.44 | 30 | 965 | 36 | 30.59
26.10.22 11:54:16 | 18.58 | 61.07 | 78.45 | 65.27 | 98.84 | 84.74 | 68.45 | 64.22 | 105.2 | 79.29 | 73.23 | 70.95 | 101.79 | 88.18 | 62.44 | 63.82 | 123.11 | 85.53 | 93.67 | 92.2 | 92.81 | 67.95 | 73.89 | 73.13 | 103.59 | 30 | 965 | 36 | 30.59
26.10.22 11:54:31 | 18.83 | 60.95 | 78.05 | 64.88 | 98.99 | 84.47 | 67.77 | 63.82 | 105.2 | 79.15 | 72.96 | 69.59 | 101.79 | 87.29 | 62.18 | 62.96 | 122.27 | 85.68 | 93.37 | 91.77 | 92.33 | 67.18 | 73.44 | 73.13 | 103.59 | 30 | 965 | 36 | 30.6
26.10.22 11:54:46 | 19.08 | 60.95 | 78.05 | 64.88 | 98.99 | 84.06 | 67.37 | 63.42 | 105.35 | 78.87 | 72.43 | 68.84 | 102.09 | 87 | 62.44 | 62.67 | 122.06 | 85.97 | 93.06 | 91.77 | 92.49 | 67.56 | 73.59 | 73 | 103.29 | 30 | 965 | 36 | 30.6
26.10.22 11:55:01 | 19.33 | 60.95 | 77.52 | 64.36 | 98.7 | 83.51 | 66.96 | 63.16 | 105.2 | 78.6 | 72.7 | 68.39 | 101.64 | 87 | 62.05 | 62.67 | 121.64 | 85.24 | 92.91 | 91.35 | 92.17 | 67.56 | 72.84 | 72.45 | 103.29 | 30 | 965 | 36 | 30.6
26.10.22 11:55:16 | 19.58 | 60.58 | 77.52 | 63.58 | 98.7 | 83.23 | 66.42 | 62.89 | 105.2 | 78.46 | 72.3 | 67.35 | 101.64 | 87 | 62.05 | 62.24 | 121.43 | 85.09 | 92.91 | 90.92 | 91.52 | 67.05 | 72.24 | 72.17 | 102.84 | 30 | 965 | 36 | 30.6
26.10.22 11:55:31 | 19.83 | 60.58 | 77.26 | 63.06 | 98.7 | 82.14 | 66.29 | 63.03 | 105.05 | 78.05 | 71.9 | 66.75 | 101.64 | 86.71 | 62.05 | 61.95 | 121.01 | 85.24 | 93.06 | 90.21 | 91.68 | 67.18 | 71.79 | 71.62 | 103.14 | 30 | 965 | 36 | 30.61
26.10.22 11:55:46 | 20.08 | 60.46 | 76.86 | 62.8 | 98.41 | 81.59 | 66.29 | 62.23 | 104.9 | 78.33 | 71.9 | 66.6 | 101.79 | 86.56 | 61.8 | 61.23 | 120.18 | 84.94 | 92.91 | 90.21 | 90.88 | 67.31 | 71.49 | 71.07 | 103.29 | 30 | 965 | 36 | 30.61
26.10.22 11:56:01 | 20.33 | 60.34 | 76.47 | 62.67 | 98.41 | 81.73 | 66.02 | 62.36 | 104.9 | 78.05 | 71.9 | 66 | 101.49 | 86.86 | 61.54 | 61.23 | 120.18 | 85.24 | 92.61 | 89.78 | 90.72 | 66.92 | 71.49 | 70.66 | 102.99 | 30 | 965 | 36 | 30.61
26.10.22 11:56:16 | 20.58 | 60.22 | 76.34 | 62.67 | 98.55 | 81.18 | 65.75 | 62.63 | 104.75 | 78.05 | 71.77 | 65.86 | 101.64 | 86.42 | 61.93 | 60.94 | 120.18 | 85.09 | 92.45 | 89.5 | 90.56 | 66.92 | 70.89 | 70.39 | 102.99 | 30 | 965 | 36 | 30.63
26.10.22 11:56:31 | 20.83 | 59.85 | 76.07 | 62.54 | 98.7 | 81.05 | 65.75 | 62.1 | 104.9 | 78.05 | 71.77 | 64.82 | 101.49 | 86.27 | 61.54 | 60.09 | 119.76 | 84.65 | 92.76 | 89.22 | 90.72 | 66.67 | 70.74 | 69.16 | 103.59 | 30 | 965 | 36 | 30.63
26.10.22 11:56:46 | 21.08 | 59.48 | 75.55 | 62.15 | 98.27 | 80.23 | 65.22 | 61.7 | 104.45 | 77.78 | 71.24 | 64.22 | 101.04 | 85.83 | 61.54 | 59.52 | 119.35 | 84.35 | 92.61 | 88.37 | 90.08 | 66.29 | 69.84 | 68.35 | 102.99 | 30 | 965 | 36 | 30.63
26.10.22 11:57:01 | 21.33 | 59.61 | 75.42 | 61.76 | 98.41 | 80.37 | 64.95 | 61.44 | 104.75 | 77.64 | 71.11 | 64.22 | 101.34 | 85.39 | 61.54 | 59.66 | 118.93 | 84.65 | 92.61 | 87.81 | 90.24 | 66.41 | 69.25 | 67.81 | 103.29 | 30 | 965 | 36 | 30.63
26.10.22 11:57:16 | 21.58 | 59.36 | 74.89 | 61.63 | 97.98 | 80.09 | 64.41 | 61.04 | 104.3 | 77.1 | 71.11 | 62.6 | 101.19 | 85.25 | 61.29 | 58.8 | 118.52 | 84.06 | 92.45 | 87.67 | 90.08 | 66.54 | 68.65 | 67.67 | 102.84 | 30 | 965 | 36 | 30.66
26.10.22 11:57:31 | 21.83 | 59.48 | 74.76 | 61.5 | 98.55 | 79.55 | 64.41 | 61.04 | 104.45 | 76.96 | 71.11 | 62.75 | 101.34 | 85.25 | 61.42 | 58.66 | 118.52 | 84.06 | 92.45 | 87.67 | 90.24 | 66.41 | 68.06 | 67.4 | 103.44 | 30 | 965 | 36 | 30.66
26.10.22 11:57:46 | 22.08 | 59.61 | 74.5 | 60.6 | 98.27 | 79.42 | 64.01 | 60.52 | 104.15 | 76.82 | 70.84 | 62.45 | 101.19 | 84.81 | 61.42 | 57.81 | 118.1 | 83.91 | 92.15 | 86.97 | 89.92 | 66.8 | 67.91 | 66.59 | 102.99 | 30 | 965 | 36 | 30.66
26.10.22 11:58:01 | 22.33 | 59.36 | 74.24 | 60.47 | 98.12 | 78.74 | 63.61 | 60.38 | 104 | 76.82 | 70.45 | 60.98 | 101.19 | 84.81 | 61.42 | 57.53 | 117.89 | 83.91 | 92.15 | 86.83 | 89.43 | 66.67 | 67.62 | 66.45 | 103.14 | 30 | 965 | 36 | 30.66
26.10.22 11:58:16 | 22.58 | 59.48 | 74.11 | 59.83 | 97.98 | 78.88 | 63.35 | 60.12 | 104.15 | 76.55 | 70.58 | 60.1 | 101.49 | 84.81 | 61.03 | 57.1 | 117.69 | 83.18 | 92.15 | 86.55 | 89.75 | 66.16 | 67.47 | 65.91 | 102.99 | 30 | 965 | 36 | 30.67
26.10.22 11:58:31 | 22.83 | 59.36 | 73.59 | 59.57 | 98.12 | 78.74 | 63.35 | 59.6 | 104 | 76.42 | 70.19 | 60.54 | 101.49 | 84.81 | 61.29 | 56.82 | 117.48 | 82.89 | 91.85 | 85.85 | 89.11 | 66.54 | 67.17 | 65.51 | 103.29 | 30 | 965 | 36 | 30.66
26.10.22 11:58:46 | 23.08 | 58.75 | 73.59 | 59.44 | 97.69 | 77.66 | 62.95 | 59.47 | 103.56 | 76.28 | 69.92 | 58.93 | 101.34 | 84.08 | 61.29 | 56.39 | 117.27 | 82.74 | 92 | 85.99 | 89.43 | 66.29 | 67.03 | 65.24 | 103.44 | 30 | 965 | 36 | 30.67
26.10.22 11:59:01 | 23.33 | 58.63 | 73.72 | 59.31 | 97.83 | 77.39 | 62.68 | 59.47 | 103.56 | 76.01 | 69.4 | 58.5 | 101.49 | 84.23 | 60.78 | 56.11 | 116.86 | 82.59 | 91.85 | 85.71 | 89.43 | 66.67 | 66.29 | 64.7 | 103.14 | 30 | 965 | 36 | 30.67
26.10.22 11:59:16 | 23.58 | 58.75 | 73.46 | 59.31 | 97.98 | 77.12 | 62.28 | 59.2 | 103.41 | 75.87 | 68.88 | 58.5 | 101.19 | 83.94 | 61.03 | 55.55 | 116.65 | 82.59 | 91.69 | 84.59 | 88.63 | 66.8 | 66.73 | 64.57 | 103.29 | 30 | 965 | 36 | 30.67
26.10.22 11:59:31 | 23.83 | 58.39 | 73.46 | 59.06 | 97.69 | 76.59 | 61.89 | 58.55 | 103.26 | 75.6 | 68.48 | 57.33 | 101.19 | 83.36 | 60.65 | 55.12 | 116.65 | 82.45 | 91.69 | 84.17 | 88.63 | 66.67 | 66.14 | 63.9 | 103.59 | 30 | 965 | 36 | 30.67
26.10.22 11:59:46 | 24.08 | 57.78 | 72.81 | 58.93 | 97.69 | 76.05 | 61.75 | 58.55 | 103.26 | 75.2 | 68.22 | 56.46 | 101.04 | 83.36 | 60.52 | 54.98 | 116.24 | 82.01 | 91.24 | 84.17 | 88.63 | 66.41 | 66.14 | 63.77 | 103.29 | 30 | 965 | 36 | 30.7
26.10.22 12:00:01 | 24.33 | 57.66 | 72.81 | 58.93 | 97.4 | 75.92 | 61.49 | 58.29 | 102.96 | 75.06 | 68.22 | 55.74 | 101.19 | 83.07 | 60.4 | 54.56 | 115.83 | 81.86 | 91.24 | 83.9 | 88.63 | 66.16 | 65.7 | 63.23 | 103.44 | 30 | 965 | 36 | 30.69
26.10.22 12:00:16 | 24.58 | 57.3 | 72.81 | 58.8 | 97.55 | 75.92 | 61.36 | 58.29 | 102.96 | 74.92 | 67.7 | 55.74 | 100.89 | 82.78 | 60.27 | 55.12 | 115.21 | 82.16 | 91.09 | 83.76 | 88.63 | 66.67 | 65.7 | 63.5 | 103.44 | 30 | 965 | 36 | 30.7
26.10.22 12:00:31 | 24.83 | 57.54 | 72.68 | 58.54 | 97.4 | 75.52 | 61.09 | 57.63 | 102.66 | 74.79 | 67.31 | 54.3 | 100.75 | 82.64 | 60.27 | 54.98 | 115.41 | 82.16 | 91.09 | 83.48 | 88 | 66.16 | 65.55 | 62.57 | 103.75 | 30 | 965 | 36 | 30.7
26.10.22 12:00:46 | 25.08 | 57.06 | 72.29 | 58.67 | 97.26 | 75.25 | 60.7 | 57.9 | 102.81 | 74.52 | 66.66 | 53.72 | 101.04 | 82.35 | 60.27 | 55.41 | 114.8 | 81.72 | 90.48 | 83.2 | 87.84 | 65.65 | 65.11 | 61.9 | 103.59 | 30 | 965 | 36 | 30.7
26.10.22 12:01:01 | 25.33 | 56.69 | 71.9 | 58.54 | 97.11 | 75.12 | 60.57 | 57.5 | 102.81 | 73.98 | 66.4 | 53.01 | 100.89 | 82.35 | 59.76 | 54.98 | 114.8 | 81.57 | 90.33 | 82.93 | 87.84 | 65.65 | 64.81 | 61.5 | 103.44 | 30 | 965 | 36 | 30.71
26.10.22 12:01:16 | 25.58 | 56.69 | 72.03 | 58.16 | 97.26 | 74.85 | 59.77 | 57.11 | 102.66 | 74.11 | 66.27 | 52.58 | 100.89 | 81.48 | 60.14 | 55.41 | 114.38 | 81.43 | 90.63 | 82.37 | 87.68 | 65.52 | 64.96 | 61.1 | 103.29 | 30 | 965 | 36 | 30.71
26.10.22 12:01:31 | 25.83 | 55.97 | 71.38 | 58.16 | 97.11 | 74.45 | 59.64 | 57.11 | 102.22 | 73.98 | 66.01 | 51.43 | 100.45 | 81.63 | 59.76 | 55.26 | 113.97 | 81.57 | 90.33 | 82.1 | 87.36 | 65.65 | 64.52 | 61.5 | 103.44 | 30 | 965 | 36 | 30.71
26.10.22 12:01:46 | 26.08 | 55.73 | 71.13 | 58.03 | 97.11 | 74.05 | 59.51 | 56.59 | 102.22 | 73.98 | 65.88 | 50.29 | 100.89 | 81.34 | 60.02 | 55.41 | 113.56 | 81.57 | 90.03 | 81.96 | 87.68 | 65.52 | 64.81 | 60.57 | 103.44 | 30 | 965 | 36 | 30.71
26.10.22 12:02:01 | 26.33 | 55.37 | 71.13 | 57.9 | 97.11 | 73.39 | 59.25 | 55.94 | 102.37 | 73.84 | 65.49 | 50.29 | 100.75 | 81.19 | 60.14 | 56.25 | 113.36 | 81.28 | 89.87 | 81.13 | 87.68 | 65.52 | 64.23 | 60.44 | 103.75 | 30 | 965 | 36 | 30.71
26.10.22 12:02:16 | 26.58 | 55.37 | 71.13 | 57.39 | 96.83 | 72.99 | 58.85 | 55.56 | 101.77 | 73.71 | 65.36 | 50.01 | 100.6 | 80.91 | 59.38 | 55.97 | 113.15 | 81.28 | 90.03 | 80.31 | 87.52 | 65.65 | 64.52 | 60.31 | 103.75 | 30 | 965 | 36 | 30.73
26.10.22 12:02:31 | 26.83 | 54.77 | 70.87 | 57.01 | 96.68 | 72.72 | 58.33 | 55.3 | 101.62 | 73.57 | 64.46 | 49.72 | 100.3 | 80.33 | 59.26 | 55.55 | 112.74 | 81.14 | 89.27 | 79.9 | 86.88 | 65.52 | 63.93 | 59.78 | 103.59 | 30 | 965 | 36 | 30.74
26.10.22 12:02:46 | 27.08 | 54.41 | 70.74 | 56.76 | 96.83 | 72.33 | 58.46 | 54.78 | 101.92 | 73.3 | 64.46 | 48.59 | 100.6 | 80.04 | 59.13 | 55.55 | 112.33 | 80.99 | 89.42 | 79.35 | 86.72 | 65.01 | 63.64 | 59.65 | 103.44 | 30 | 965 | 36 | 30.74
26.10.22 12:03:01 | 27.33 | 54.41 | 70.74 | 56.76 | 96.68 | 71.8 | 58.2 | 54.78 | 101.33 | 72.77 | 64.46 | 48.3 | 100.6 | 79.62 | 58.62 | 55.26 | 111.92 | 80.55 | 89.27 | 79.35 | 86.88 | 65.4 | 63.06 | 58.86 | 103.29 | 30 | 965 | 36 | 30.74
26.10.22 12:03:16 | 27.58 | 54.29 | 70.35 | 56 | 96.83 | 71.66 | 57.81 | 54.39 | 101.62 | 72.9 | 64.2 | 48.87 | 100.45 | 79.33 | 58.88 | 55.41 | 111.92 | 80.55 | 89.27 | 78.8 | 87.04 | 65.27 | 63.5 | 58.86 | 103.75 | 30 | 965 | 36 | 30.74

## Oxygen Orginal
Measurement Name : | 20221026_SDR710_Plate10 |  | Generated On : | 26/10/2022, 12:04:01 |  |  | Calibration details for Oxygen |  |  | Report : | @m02:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 02 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m02:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 26/10/2022, 11:35:41 | [5 empty] | Batch No.: | PSt5-1624-01_25°C
End Date/Time: | 26/10/2022, 12:03:25 | [5 empty] | O2_cal0 [°] | 54.76
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 24.8
Parameter : | Oxygen [[%] Air Saturation] | [5 empty] | O2_T2nd [°C] | 24.8
[7 empty] | O2_patm [mbar] | 965
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 |  |  |  | T_internal [°C] | Error
26.10.22 11:35:43 | 0.03 | 82.97 | 106.39 | 97.43 | 114.47 | 83.7 | 83.41 | 91.24 | 103.43 | 86.49 | 87.82 | 90.94 | 93.34 | 96.37 | 75.18 | 89.45 | 90.94 | 100.34 | 90.49 | 131.57 | 94.09 | 89.75 | 80.93 | 105.14 | 86.34 | 30 | 965 | 36 | 28.83
26.10.22 11:35:58 | 0.28 | 95.3 | 89.6 | 89.15 | 101.72 | 92.89 | 84.58 | 95.91 | 94.55 | 95.91 | 105.76 | 90.34 | 100.18 | 100.8 | 93.04 | 94.4 | 104.05 | 92.29 | 95.76 | 105.76 | 94.55 | 96.97 | 71.08 | 103.27 | 82.82 | 30 | 965 | 36 | 28.88
26.10.22 11:36:13 | 0.53 | 93.04 | 83.41 | 81.95 | 101.42 | 86.49 | 82.68 | 94.7 | 106.86 | 100.49 | 81.66 | 78.48 | 103.89 | 89.75 | 79.49 | 89 | 86.34 | 96.82 | 67.02 | 93.04 | 98.65 | 98.65 | 70.94 | 95.15 | 101.11 | 30 | 965 | 36 | 28.92
26.10.22 11:36:28 | 0.78 | 95.45 | 114.15 | 79.77 | 104.52 | 92.74 | 72.63 | 96.52 | 109.06 | 101.11 | 70.52 | 76.61 | 95.61 | 92.59 | 94.25 | 93.64 | 106.7 | 104.67 | 84.87 | 102.81 | 82.09 | 66.33 | 67.44 | 99.57 | 87.23 | 30 | 965 | 36 | 28.96
26.10.22 11:36:43 | 1.03 | 89.75 | 107.96 | 85.75 | 103.89 | 98.5 | 89.15 | 84.72 | 94.09 | 90.19 | 80.93 | 98.65 | 107.33 | 98.19 | 83.99 | 75.18 | 97.89 | 81.66 | 83.84 | 126.55 | 102.34 | 86.05 | 86.78 | 92.44 | 106.08 | 30 | 965 | 36 | 28.99
26.10.22 11:36:58 | 1.28 | 109.06 | 94.4 | 91.54 | 111.75 | 108.59 | 96.97 | 97.28 | 106.7 | 97.43 | 95.91 | 89.9 | 111.28 | 110.48 | 107.33 | 100.18 | 96.82 | 95 | 98.35 | 97.43 | 97.89 | 118.34 | 94.25 | 93.79 | 122.91 | 30 | 965 | 36 | 29.03
26.10.22 11:37:13 | 1.53 | 95.91 | 87.67 | 95 | 101.11 | 109.38 | 84.87 | 94.7 | 114.79 | 101.88 | 96.21 | 66.19 | 93.64 | 102.96 | 96.82 | 76.47 | 93.34 | 100.34 | 90.79 | 98.35 | 90.64 | 114.63 | 71.22 | 92.14 | 106.39 | 30 | 965 | 36 | 29.06
26.10.22 11:37:28 | 1.78 | 100.18 | 98.35 | 92.14 | 108.43 | 109.69 | 81.8 | 91.09 | 89.6 | 75.47 | 102.81 | 76.75 | 94.7 | 93.94 | 88.71 | 83.7 | 92.89 | 101.26 | 80.35 | 96.37 | 71.64 | 91.09 | 99.88 | 84.58 | 106.55 | 30 | 965 | 36 | 29.1
26.10.22 11:37:43 | 2.03 | 103.27 | 102.81 | 101.26 | 110.96 | 103.58 | 102.19 | 100.34 | 114.63 | 91.84 | 119.15 | 100.8 | 128.55 | 107.33 | 93.04 | 84.87 | 104.52 | 108.59 | 87.82 | 133.77 | 102.19 | 91.54 | 85.9 | 96.37 | 125.55 | 30 | 965 | 36 | 29.11
26.10.22 11:37:58 | 2.28 | 99.88 | 101.72 | 92.14 | 105.92 | 96.97 | 78.33 | 93.49 | 111.6 | 118.02 | 104.52 | 88.11 | 98.35 | 94.85 | 77.47 | 82.24 | 95.61 | 105.92 | 84.43 | 92.44 | 85.6 | 111.75 | 75.04 | 78.04 | 93.19 | 30 | 965 | 36 | 29.16
26.10.22 11:38:13 | 2.53 | 102.34 | 109.69 | 93.34 | 105.61 | 108.12 | 81.66 | 77.47 | 106.86 | 98.5 | 112.71 | 102.5 | 109.85 | 105.61 | 82.82 | 75.47 | 100.03 | 89.6 | 102.19 | 111.91 | 96.52 | 76.18 | 87.23 | 96.52 | 103.74 | 30 | 965 | 36 | 29.17
26.10.22 11:38:28 | 2.78 | 98.35 | 100.18 | 83.7 | 102.03 | 99.57 | 77.9 | 84.14 | 113.51 | 96.52 | 91.09 | 85.02 | 114.47 | 101.42 | 83.84 | 87.08 | 92.29 | 99.11 | 86.19 | 109.69 | 99.26 | 89.6 | 80.5 | 102.34 | 112.87 | 30 | 965 | 36 | 29.19
26.10.22 11:38:43 | 3.03 | 73.48 | 87.23 | 77.33 | 97.28 | 98.35 | 82.68 | 75.9 | 86.19 | 85.02 | 78.62 | 85.9 | 100.8 | 97.13 | 90.49 | 94.55 | 91.39 | 75.75 | 80.79 | 109.06 | 88.86 | 79.34 | 69.39 | 82.09 | 108.12 | 30 | 965 | 36 | 29.21
26.10.22 11:38:58 | 3.28 | 88.71 | 75.61 | 79.63 | 89.75 | 100.8 | 65.22 | 73.19 | 95.76 | 79.49 | 75.18 | 76.61 | 90.49 | 79.92 | 73.34 | 79.34 | 72.77 | 95.91 | 86.05 | 113.03 | 69.67 | 92.59 | 64.94 | 91.39 | 82.24 | 30 | 965 | 36 | 29.23
26.10.22 11:39:13 | 3.53 | 102.5 | 91.39 | 89.6 | 116.24 | 100.03 | 84.58 | 95.45 | 114.79 | 96.21 | 92.29 | 76.18 | 100.65 | 93.34 | 85.9 | 86.05 | 100.18 | 94.85 | 83.26 | 97.43 | 91.09 | 86.05 | 83.26 | 105.45 | 106.39 | 30 | 965 | 36 | 29.24
26.10.22 11:39:28 | 3.78 | 88.56 | 81.8 | 86.05 | 95.15 | 88.86 | 70.8 | 91.39 | 105.61 | 92.89 | 94.09 | 90.05 | 100.95 | 95.15 | 68.97 | 83.7 | 86.05 | 87.82 | 84.43 | 108.27 | 90.94 | 82.97 | 65.22 | 101.26 | 105.45 | 30 | 965 | 36 | 29.25
26.10.22 11:39:43 | 4.03 | 94.7 | 98.65 | 80.35 | 108.59 | 93.79 | 75.18 | 61.65 | 117.53 | 79.63 | 90.05 | 90.05 | 107.96 | 83.26 | 85.75 | 77.9 | 88.86 | 92.74 | 91.54 | 99.11 | 83.99 | 69.95 | 66.33 | 86.64 | 103.74 | 30 | 965 | 36 | 29.28
26.10.22 11:39:58 | 4.28 | 104.67 | 93.34 | 81.08 | 112.87 | 94.09 | 83.41 | 77.9 | 94.25 | 76.9 | 80.35 | 79.92 | 118.02 | 110.01 | 90.79 | 79.63 | 102.5 | 93.79 | 85.75 | 129.89 | 88.71 | 80.79 | 62.19 | 96.06 | 107.64 | 30 | 965 | 36 | 29.3
26.10.22 11:40:13 | 4.53 | 86.19 | 106.39 | 83.84 | 110.8 | 97.89 | 80.06 | 92.74 | 103.89 | 92.29 | 78.48 | 105.45 | 102.96 | 103.58 | 84.58 | 85.16 | 78.19 | 92.74 | 89.45 | 124.23 | 90.64 | 123.41 | 88.26 | 89.3 | 127.55 | 30 | 965 | 36 | 29.31
26.10.22 11:40:28 | 4.78 | 108.12 | 101.11 | 94.55 | 120.46 | 121.44 | 83.99 | 99.72 | 127.05 | 98.8 | 99.42 | 89.15 | 123.08 | 107.02 | 93.49 | 90.34 | 85.9 | 97.58 | 101.88 | 112.39 | 96.67 | 86.64 | 85.46 | 103.27 | 123.08 | 30 | 965 | 36 | 29.34
26.10.22 11:40:43 | 5.03 | 95.76 | 100.03 | 84.87 | 109.85 | 88.86 | 82.38 | 94.09 | 110.96 | 91.69 | 98.04 | 86.19 | 114.95 | 94.4 | 85.16 | 82.97 | 97.74 | 101.72 | 87.52 | 99.57 | 97.58 | 80.21 | 77.9 | 97.58 | 112.55 | 30 | 965 | 36 | 29.35
26.10.22 11:40:58 | 5.28 | 98.35 | 104.2 | 86.93 | 114.15 | 81.08 | 99.57 | 81.8 | 112.71 | 92.14 | 89.6 | 91.99 | 125.72 | 98.35 | 89.45 | 82.38 | 92.89 | 92.44 | 95.61 | 94.55 | 98.65 | 77.33 | 76.18 | 85.31 | 115.75 | 30 | 965 | 36 | 29.38
26.10.22 11:41:13 | 5.53 | 87.97 | 108.12 | 74.9 | 112.71 | 108.27 | 80.79 | 100.8 | 114.15 | 84.43 | 102.96 | 92.74 | 98.35 | 97.74 | 85.6 | 77.61 | 92.59 | 99.88 | 89.3 | 126.88 | 84.72 | 86.19 | 83.99 | 93.49 | 103.58 | 30 | 965 | 36 | 29.38
26.10.22 11:41:28 | 5.78 | 88.41 | 97.89 | 80.5 | 99.88 | 95.76 | 95.3 | 91.99 | 99.42 | 75.33 | 88.26 | 60.56 | 102.19 | 99.57 | 80.35 | 72.91 | 92.14 | 91.09 | 87.08 | 104.98 | 75.61 | 86.19 | 71.08 | 86.93 | 112.87 | 30 | 965 | 36 | 29.41
26.10.22 11:41:43 | 6.03 | 71.5 | 82.09 | 83.41 | 100.95 | 86.78 | 76.9 | 79.63 | 97.58 | 91.99 | 98.5 | 78.04 | 85.16 | 95 | 77.47 | 70.66 | 91.24 | 87.08 | 96.06 | 85.31 | 86.93 | 81.95 | 66.61 | 100.8 | 105.14 | 30 | 965 | 36 | 29.42
26.10.22 11:41:58 | 6.28 | 79.92 | 81.08 | 75.18 | 94.09 | 93.64 | 92.29 | 75.61 | 98.96 | 78.76 | 76.18 | 84.28 | 96.82 | 85.02 | 86.49 | 62.19 | 94.25 | 78.33 | 85.6 | 105.61 | 82.24 | 66.33 | 72.77 | 77.04 | 104.36 | 30 | 965 | 36 | 29.42
26.10.22 11:42:13 | 6.53 | 88.86 | 89.75 | 92.14 | 104.83 | 92.44 | 70.66 | 83.7 | 103.43 | 91.54 | 82.68 | 83.99 | 107.96 | 104.67 | 79.49 | 67.3 | 89.15 | 83.41 | 94.09 | 89.75 | 78.62 | 71.5 | 67.86 | 94.4 | 94.85 | 30 | 965 | 36 | 29.45
26.10.22 11:42:28 | 6.78 | 83.55 | 95.76 | 73.9 | 103.43 | 85.6 | 77.9 | 94.09 | 102.19 | 87.08 | 96.21 | 73.34 | 118.66 | 91.69 | 75.18 | 68.97 | 102.03 | 100.49 | 96.37 | 101.26 | 73.62 | 73.05 | 99.11 | 89.9 | 98.96 | 30 | 965 | 36 | 29.48
26.10.22 11:42:43 | 7.03 | 93.34 | 92.29 | 90.94 | 112.55 | 117.85 | 81.37 | 86.19 | 102.5 | 93.34 | 103.27 | 86.78 | 124.07 | 112.87 | 71.78 | 83.55 | 104.2 | 90.64 | 88.86 | 126.55 | 78.33 | 90.94 | 89.45 | 92.59 | 119.15 | 30 | 965 | 36 | 29.5
26.10.22 11:42:58 | 7.28 | 100.34 | 99.88 | 94.09 | 95.76 | 84.14 | 83.55 | 73.62 | 92.44 | 92.74 | 89.75 | 93.49 | 127.22 | 92.29 | 78.76 | 66.19 | 94.4 | 91.24 | 83.55 | 124.56 | 91.09 | 74.61 | 89 | 90.79 | 100.34 | 30 | 965 | 36 | 29.53
26.10.22 11:43:13 | 7.53 | 75.18 | 88.71 | 77.9 | 100.49 | 86.78 | 66.47 | 75.75 | 104.52 | 101.26 | 79.77 | 64.67 | 104.36 | 78.48 | 80.35 | 65.36 | 88.56 | 84.72 | 82.82 | 114.31 | 77.33 | 70.8 | 81.51 | 82.97 | 90.94 | 30 | 965 | 36 | 29.58
26.10.22 11:43:28 | 7.78 | 93.64 | 96.82 | 83.84 | 109.38 | 104.98 | 101.72 | 74.61 | 115.59 | 90.79 | 94.7 | 85.02 | 115.27 | 106.39 | 94.25 | 70.09 | 87.82 | 110.48 | 89.6 | 108.59 | 104.05 | 85.9 | 75.04 | 100.65 | 100.49 | 30 | 965 | 36 | 29.6
26.10.22 11:43:43 | 8.03 | 91.54 | 93.79 | 85.75 | 108.43 | 110.96 | 87.97 | 88.26 | 107.64 | 97.28 | 99.11 | 81.8 | 110.8 | 107.49 | 93.34 | 79.77 | 110.8 | 82.24 | 90.49 | 110.64 | 84.58 | 78.91 | 69.11 | 85.16 | 118.02 | 30 | 965 | 36 | 29.63
26.10.22 11:43:59 | 8.3 | 82.09 | 86.05 | 73.05 | 109.06 | 80.35 | 71.78 | 69.11 | 103.27 | 85.02 | 77.76 | 73.9 | 89.45 | 85.75 | 80.5 | 72.63 | 85.16 | 80.79 | 89.6 | 95 | 86.64 | 68.55 | 68.14 | 85.16 | 108.12 | 30 | 965 | 36 | 29.67
26.10.22 11:44:14 | 8.55 | 87.23 | 99.57 | 87.67 | 112.87 | 86.34 | 82.82 | 68.55 | 105.45 | 84.28 | 98.19 | 82.24 | 121.76 | 95.3 | 75.33 | 91.84 | 86.49 | 104.05 | 87.52 | 104.52 | 87.37 | 73.9 | 98.65 | 100.34 | 113.51 | 30 | 965 | 36 | 29.71
26.10.22 11:44:29 | 8.8 | 85.6 | 108.27 | 93.49 | 136.33 | 94.85 | 89.15 | 81.37 | 117.69 | 117.37 | 87.67 | 85.75 | 110.48 | 104.52 | 90.19 | 72.06 | 100.18 | 114.63 | 105.92 | 112.23 | 94.85 | 97.13 | 88.56 | 113.35 | 114.47 | 30 | 965 | 36 | 29.74
26.10.22 11:44:44 | 9.05 | 96.97 | 103.27 | 85.31 | 102.65 | 101.72 | 80.35 | 64.81 | 123.57 | 86.64 | 110.17 | 82.09 | 102.19 | 88.86 | 78.76 | 88.11 | 98.96 | 104.98 | 94.55 | 118.83 | 82.53 | 78.33 | 69.81 | 89.15 | 92.89 | 30 | 965 | 36 | 29.8
26.10.22 11:44:59 | 9.3 | 91.54 | 93.79 | 98.5 | 114.31 | 99.72 | 105.61 | 87.23 | 110.01 | 104.36 | 105.29 | 94.55 | 126.72 | 105.29 | 79.34 | 75.33 | 101.57 | 108.27 | 96.21 | 112.39 | 87.37 | 96.67 | 83.99 | 80.93 | 110.17 | 30 | 965 | 36 | 29.84
26.10.22 11:45:14 | 9.55 | 82.82 | 113.83 | 98.96 | 124.89 | 113.67 | 96.67 | 84.72 | 123.24 | 105.61 | 78.62 | 77.76 | 110.64 | 93.79 | 73.48 | 77.76 | 100.03 | 115.75 | 93.64 | 125.39 | 93.19 | 87.97 | 76.04 | 93.94 | 118.5 | 30 | 965 | 36 | 29.88
26.10.22 11:45:29 | 9.8 | 90.05 | 98.65 | 83.26 | 131.41 | 101.57 | 86.49 | 86.49 | 103.12 | 93.19 | 120.13 | 84.28 | 112.23 | 113.67 | 93.94 | 78.48 | 91.69 | 94.4 | 117.85 | 87.52 | 91.84 | 81.22 | 71.08 | 83.11 | 101.72 | 30 | 965 | 36 | 29.92
26.10.22 11:45:44 | 10.05 | 89.15 | 92.59 | 81.08 | 113.19 | 86.34 | 91.39 | 85.46 | 100.65 | 88.56 | 83.55 | 81.51 | 90.94 | 93.49 | 69.25 | 70.94 | 94.85 | 78.33 | 79.63 | 113.99 | 89.9 | 95.91 | 77.61 | 80.93 | 121.44 | 30 | 965 | 36 | 29.96
26.10.22 11:45:59 | 10.3 | 84.14 | 92.29 | 67.58 | 112.07 | 86.78 | 80.06 | 74.47 | 105.29 | 90.49 | 73.62 | 65.91 | 89 | 89.3 | 78.62 | 59.88 | 88.71 | 70.94 | 86.64 | 91.54 | 73.19 | 74.76 | 76.18 | 73.76 | 103.89 | 30 | 965 | 36 | 30
26.10.22 11:46:14 | 10.55 | 73.19 | 91.24 | 81.95 | 101.57 | 91.09 | 86.93 | 83.11 | 115.27 | 71.36 | 90.05 | 73.48 | 100.65 | 97.28 | 71.92 | 67.3 | 87.97 | 79.34 | 85.02 | 107.64 | 79.2 | 69.67 | 78.76 | 88.11 | 88.71 | 30 | 965 | 36 | 30.03
26.10.22 11:46:29 | 10.8 | 71.5 | 83.84 | 86.49 | 112.71 | 81.95 | 83.55 | 87.37 | 104.98 | 82.97 | 88.86 | 61.24 | 100.95 | 98.04 | 78.76 | 69.39 | 85.46 | 86.49 | 71.36 | 104.67 | 79.05 | 55.55 | 69.11 | 85.16 | 107.33 | 30 | 965 | 36 | 30.09
26.10.22 11:46:44 | 11.05 | 68.55 | 76.47 | 75.9 | 89.3 | 81.51 | 71.5 | 62.61 | 88.26 | 73.48 | 73.76 | 67.44 | 102.03 | 98.04 | 74.61 | 67.02 | 88.71 | 83.41 | 84.43 | 89.15 | 87.23 | 74.9 | 59.6 | 83.99 | 124.56 | 30 | 965 | 36 | 30.13
26.10.22 11:46:59 | 11.3 | 85.9 | 88.86 | 82.38 | 113.19 | 113.35 | 90.64 | 71.08 | 116.08 | 107.8 | 101.26 | 74.19 | 110.8 | 98.19 | 82.82 | 80.21 | 93.94 | 96.67 | 106.23 | 112.39 | 87.82 | 68 | 71.36 | 86.19 | 106.55 | 30 | 965 | 36 | 30.17 | 965B6-(E1);
26.10.22 11:47:14 | 11.55 | 87.97 | 95.45 | 89.75 | 106.08 | 105.14 | 94.25 | 86.05 | 121.27 | 78.19 | 90.05 | 77.61 | 99.72 | 119.32 | 84.58 | 77.18 | 95.61 | 81.08 | 94.09 | 113.03 | 84.28 | 94.85 | 70.37 | 79.77 | 131.24 | 30 | 965 | 36 | 30.23
26.10.22 11:47:29 | 11.8 | 94.7 | 96.37 | 89.9 | 120.78 | 118.99 | 92.74 | 85.9 | 125.89 | 98.65 | 80.5 | 87.67 | 118.66 | 108.12 | 62.61 | 76.32 | 93.19 | 99.11 | 101.72 | 105.61 | 98.19 | 87.67 | 79.05 | 110.96 | 112.07 | 30 | 965 | 36 | 30.25
26.10.22 11:47:45 | 12.07 | 80.5 | 93.49 | 88.56 | 127.38 | 110.64 | 93.94 | 81.8 | 125.22 | 100.8 | 89.15 | 93.49 | 116.08 | 89.6 | 90.34 | 86.78 | 98.65 | 98.8 | 102.81 | 115.75 | 90.94 | 83.11 | 97.89 | 96.21 | 101.72 | 30 | 965 | 36 | 30.31
26.10.22 11:48:00 | 12.32 | 74.05 | 90.94 | 70.09 | 96.67 | 110.17 | 67.58 | 72.2 | 111.91 | 94.85 | 73.76 | 63.84 | 103.43 | 100.8 | 71.64 | 75.04 | 90.94 | 77.47 | 101.11 | 95.45 | 81.95 | 64.12 | 70.94 | 65.08 | 112.55 | 30 | 965 | 36 | 30.34
26.10.22 11:48:15 | 12.57 | 76.18 | 96.21 | 78.19 | 116.72 | 102.19 | 83.26 | 72.63 | 105.45 | 93.79 | 81.08 | 69.67 | 96.06 | 100.34 | 74.61 | 72.06 | 101.26 | 99.26 | 89.6 | 98.65 | 88.41 | 103.58 | 75.33 | 91.99 | 116.08 | 30 | 965 | 36 | 30.38
26.10.22 11:48:30 | 12.82 | 87.97 | 92.44 | 78.04 | 100.18 | 90.05 | 93.34 | 86.34 | 102.65 | 91.54 | 92.59 | 80.21 | 115.75 | 89.15 | 78.91 | 63.29 | 93.64 | 90.64 | 106.08 | 95.15 | 84.43 | 91.39 | 74.61 | 79.92 | 98.35 | 30 | 965 | 36 | 30.42
26.10.22 11:48:45 | 13.07 | 77.33 | 102.19 | 82.97 | 110.17 | 100.8 | 79.2 | 78.76 | 125.89 | 89 | 86.64 | 71.78 | 120.62 | 103.43 | 94.85 | 82.97 | 95.45 | 102.65 | 107.64 | 108.59 | 104.83 | 81.22 | 98.8 | 91.69 | 117.05 | 30 | 965 | 36 | 30.46
26.10.22 11:49:00 | 13.32 | 74.47 | 91.09 | 76.9 | 108.27 | 96.97 | 78.19 | 73.76 | 108.9 | 88.26 | 84.28 | 72.2 | 107.02 | 93.94 | 72.2 | 69.25 | 91.84 | 86.93 | 92.74 | 104.2 | 87.82 | 75.9 | 74.33 | 82.68 | 108.75 | 30 | 965 | 36 | 30.49
26.10.22 11:49:15 | 13.57 | 73.62 | 91.09 | 76.75 | 108.59 | 97.13 | 77.76 | 73.48 | 109.06 | 87.67 | 84.14 | 72.06 | 107.02 | 93.64 | 72.06 | 68.97 | 91.54 | 87.08 | 93.04 | 104.05 | 87.97 | 75.75 | 74.61 | 82.24 | 108.75 | 30 | 965 | 36 | 30.52
26.10.22 11:49:30 | 13.82 | 72.77 | 90.94 | 76.32 | 108.12 | 96.52 | 77.47 | 73.34 | 108.9 | 87.67 | 83.84 | 71.92 | 106.7 | 93.19 | 72.06 | 68.69 | 91.69 | 86.64 | 92.59 | 103.89 | 87.82 | 75.47 | 74.33 | 81.95 | 108.43 | 30 | 965 | 36 | 30.52
26.10.22 11:49:45 | 14.07 | 72.2 | 90.49 | 75.9 | 108.12 | 96.52 | 77.47 | 73.05 | 109.06 | 87.52 | 83.41 | 71.5 | 106.7 | 93.04 | 71.64 | 68.42 | 91.54 | 86.78 | 93.04 | 103.58 | 87.37 | 75.33 | 73.62 | 81.37 | 108.59 | 30 | 965 | 36 | 30.52
26.10.22 11:50:00 | 14.32 | 72.35 | 90.19 | 75.61 | 107.96 | 96.37 | 77.18 | 72.63 | 109.22 | 87.67 | 83.41 | 71.78 | 107.17 | 92.74 | 71.36 | 68 | 91.09 | 86.19 | 92.44 | 102.96 | 86.93 | 75.04 | 73.34 | 81.37 | 108.59 | 30 | 965 | 36 | 30.5
26.10.22 11:50:15 | 14.57 | 72.2 | 90.19 | 75.18 | 108.27 | 96.82 | 76.9 | 72.49 | 109.06 | 87.08 | 83.11 | 71.22 | 106.7 | 92.89 | 71.08 | 67.3 | 90.94 | 85.9 | 92.89 | 102.96 | 87.08 | 75.47 | 73.76 | 81.22 | 109.06 | 30 | 965 | 36 | 30.5
26.10.22 11:50:30 | 14.82 | 71.92 | 90.05 | 74.61 | 107.96 | 96.06 | 77.04 | 71.78 | 109.22 | 86.78 | 82.68 | 70.52 | 106.7 | 92.74 | 70.94 | 67.3 | 90.49 | 86.05 | 92.89 | 102.65 | 86.78 | 75.61 | 72.91 | 81.51 | 108.12 | 30 | 965 | 36 | 30.52
26.10.22 11:50:45 | 15.07 | 71.92 | 89.6 | 74.76 | 108.27 | 96.67 | 76.32 | 71.36 | 109.38 | 86.64 | 82.24 | 70.8 | 106.86 | 92.59 | 70.66 | 66.19 | 90.49 | 86.05 | 92.74 | 102.65 | 86.93 | 75.18 | 72.06 | 80.79 | 108.59 | 30 | 965 | 36 | 30.52
26.10.22 11:51:00 | 15.32 | 72.2 | 89.6 | 74.47 | 108.12 | 96.21 | 75.9 | 70.94 | 109.85 | 86.49 | 82.09 | 70.52 | 106.86 | 92.59 | 70.52 | 66.19 | 90.19 | 86.34 | 92.74 | 102.34 | 86.64 | 74.9 | 72.06 | 80.64 | 108.59 | 30 | 965 | 36 | 30.53
26.10.22 11:51:15 | 15.57 | 71.92 | 89.15 | 74.05 | 107.8 | 95.76 | 75.47 | 70.37 | 109.53 | 86.34 | 81.37 | 70.09 | 106.7 | 92.29 | 70.37 | 65.64 | 90.05 | 86.19 | 92.74 | 102.19 | 86.49 | 74.9 | 71.5 | 80.21 | 108.75 | 30 | 965 | 36 | 30.52
26.10.22 11:51:30 | 15.82 | 72.06 | 89.45 | 74.05 | 108.12 | 95.91 | 75.18 | 70.37 | 110.01 | 86.34 | 81.37 | 69.39 | 106.86 | 92.29 | 69.81 | 65.36 | 89.6 | 85.75 | 92.59 | 102.03 | 86.34 | 75.75 | 71.22 | 80.5 | 108.12 | 30 | 965 | 36 | 30.53
26.10.22 11:51:45 | 16.07 | 71.92 | 89.3 | 73.34 | 107.49 | 95.61 | 74.47 | 70.23 | 109.85 | 86.34 | 81.37 | 68.83 | 106.55 | 91.69 | 69.81 | 64.67 | 89.3 | 86.19 | 92.44 | 101.57 | 85.9 | 75.47 | 70.23 | 80.06 | 108.75 | 30 | 965 | 36 | 30.53
26.10.22 11:52:00 | 16.32 | 71.64 | 89 | 73.19 | 107.96 | 94.85 | 73.9 | 69.81 | 110.01 | 86.05 | 80.93 | 68.28 | 106.86 | 91.39 | 69.25 | 64.53 | 89.3 | 86.05 | 92.74 | 101.11 | 85.6 | 75.47 | 70.37 | 79.49 | 108.43 | 30 | 965 | 36 | 30.53
26.10.22 11:52:15 | 16.57 | 71.22 | 88.86 | 72.49 | 107.64 | 94.7 | 73.19 | 68.83 | 110.33 | 86.34 | 80.5 | 68 | 106.55 | 90.94 | 69.11 | 63.15 | 88.41 | 85.6 | 92.14 | 101.26 | 85.46 | 75.75 | 69.81 | 79.34 | 108.27 | 30 | 965 | 36 | 30.55
26.10.22 11:52:30 | 16.82 | 71.08 | 88.56 | 72.2 | 107.8 | 94.25 | 73.05 | 68.28 | 110.48 | 86.19 | 80.06 | 67.16 | 106.7 | 90.64 | 68.55 | 63.15 | 88.41 | 85.9 | 92.29 | 100.8 | 85.6 | 74.9 | 69.53 | 79.34 | 108.12 | 30 | 965 | 36 | 30.55
26.10.22 11:52:45 | 17.07 | 70.94 | 88.26 | 71.36 | 107.8 | 94.09 | 72.49 | 68.42 | 110.48 | 85.75 | 79.2 | 67.16 | 106.55 | 89.9 | 68.55 | 62.33 | 87.97 | 85.9 | 92.29 | 100.18 | 85.16 | 75.61 | 69.67 | 78.33 | 107.96 | 30 | 965 | 36 | 30.55
26.10.22 11:53:00 | 17.32 | 70.66 | 88.26 | 70.66 | 107.64 | 93.49 | 72.35 | 68 | 110.48 | 85.31 | 79.05 | 66.61 | 106.39 | 89.75 | 68.55 | 62.33 | 87.82 | 85.46 | 92.14 | 100.03 | 84.58 | 75.61 | 69.11 | 77.9 | 107.96 | 30 | 965 | 36 | 30.56
26.10.22 11:53:15 | 17.57 | 70.23 | 88.11 | 70.66 | 107.33 | 93.79 | 72.35 | 68 | 110.8 | 85.46 | 79.05 | 66.33 | 106.55 | 89.6 | 68.42 | 61.1 | 87.67 | 85.6 | 92.14 | 99.72 | 84.43 | 75.47 | 68.83 | 78.04 | 107.8 | 30 | 965 | 36 | 30.58
26.10.22 11:53:31 | 17.83 | 69.81 | 88.11 | 70.23 | 107.49 | 93.64 | 72.06 | 67.58 | 111.28 | 85.16 | 79.2 | 65.77 | 106.55 | 89.45 | 68 | 61.1 | 87.37 | 85.46 | 92.29 | 99.57 | 84.58 | 75.18 | 68.83 | 77.76 | 108.43 | 30 | 965 | 36 | 30.58
26.10.22 11:53:46 | 18.08 | 69.95 | 87.97 | 69.81 | 107.64 | 92.74 | 71.78 | 67.58 | 111.6 | 85.31 | 79.34 | 65.22 | 106.7 | 89 | 68.14 | 60.69 | 86.93 | 85.6 | 91.69 | 99.72 | 84.43 | 75.33 | 68.83 | 77.33 | 107.96 | 30 | 965 | 36 | 30.58
26.10.22 11:54:01 | 18.33 | 69.67 | 87.82 | 69.95 | 107.33 | 93.34 | 71.22 | 67.3 | 111.6 | 85.31 | 78.91 | 64.94 | 106.55 | 89 | 68 | 60.56 | 86.78 | 85.46 | 91.69 | 99.26 | 84.14 | 75.75 | 68.69 | 76.47 | 108.12 | 30 | 965 | 36 | 30.59
26.10.22 11:54:16 | 18.58 | 69.81 | 87.67 | 69.95 | 107.49 | 92.29 | 71.22 | 67.02 | 111.75 | 84.72 | 79.63 | 64.94 | 106.39 | 89.15 | 68 | 60.15 | 86.64 | 85.16 | 91.84 | 98.96 | 83.99 | 75.61 | 68.42 | 75.75 | 108.27 | 30 | 965 | 36 | 30.59
26.10.22 11:54:31 | 18.83 | 69.67 | 87.23 | 69.53 | 107.64 | 91.99 | 70.52 | 66.61 | 111.75 | 84.58 | 79.34 | 63.7 | 106.39 | 88.26 | 67.72 | 59.33 | 86.05 | 85.31 | 91.54 | 98.5 | 83.55 | 74.76 | 68 | 75.75 | 108.27 | 30 | 965 | 36 | 30.6
26.10.22 11:54:46 | 19.08 | 69.67 | 87.23 | 69.53 | 107.64 | 91.54 | 70.09 | 66.19 | 111.91 | 84.28 | 78.76 | 63.02 | 106.7 | 87.97 | 68 | 59.06 | 85.9 | 85.6 | 91.24 | 98.5 | 83.7 | 75.18 | 68.14 | 75.61 | 107.96 | 30 | 965 | 36 | 30.6
26.10.22 11:55:01 | 19.33 | 69.67 | 86.64 | 68.97 | 107.33 | 90.94 | 69.67 | 65.91 | 111.75 | 83.99 | 79.05 | 62.61 | 106.23 | 87.97 | 67.58 | 59.06 | 85.6 | 84.87 | 91.09 | 98.04 | 83.41 | 75.18 | 67.44 | 75.04 | 107.96 | 30 | 965 | 36 | 30.6
26.10.22 11:55:16 | 19.58 | 69.25 | 86.64 | 68.14 | 107.33 | 90.64 | 69.11 | 65.64 | 111.75 | 83.84 | 78.62 | 61.65 | 106.23 | 87.97 | 67.58 | 58.65 | 85.46 | 84.72 | 91.09 | 97.58 | 82.82 | 74.61 | 66.88 | 74.76 | 107.49 | 30 | 965 | 36 | 30.6
26.10.22 11:55:31 | 19.83 | 69.25 | 86.34 | 67.58 | 107.33 | 89.45 | 68.97 | 65.77 | 111.6 | 83.41 | 78.19 | 61.1 | 106.23 | 87.67 | 67.58 | 58.38 | 85.16 | 84.87 | 91.24 | 96.82 | 82.97 | 74.76 | 66.47 | 74.19 | 107.8 | 30 | 965 | 36 | 30.61
26.10.22 11:55:46 | 20.08 | 69.11 | 85.9 | 67.3 | 107.02 | 88.86 | 68.97 | 64.94 | 111.44 | 83.7 | 78.19 | 60.96 | 106.39 | 87.52 | 67.3 | 57.71 | 84.58 | 84.58 | 91.09 | 96.82 | 82.24 | 74.9 | 66.19 | 73.62 | 107.96 | 30 | 965 | 36 | 30.61
26.10.22 11:56:01 | 20.33 | 68.97 | 85.46 | 67.16 | 107.02 | 89 | 68.69 | 65.08 | 111.44 | 83.41 | 78.19 | 60.42 | 106.08 | 87.82 | 67.02 | 57.71 | 84.58 | 84.87 | 90.79 | 96.37 | 82.09 | 74.47 | 66.19 | 73.19 | 107.64 | 30 | 965 | 36 | 30.61
26.10.22 11:56:16 | 20.58 | 68.83 | 85.31 | 67.16 | 107.17 | 88.41 | 68.42 | 65.36 | 111.28 | 83.41 | 78.04 | 60.28 | 106.23 | 87.37 | 67.44 | 57.44 | 84.58 | 84.72 | 90.64 | 96.06 | 81.95 | 74.47 | 65.64 | 72.91 | 107.64 | 30 | 965 | 36 | 30.63
26.10.22 11:56:31 | 20.83 | 68.42 | 85.02 | 67.02 | 107.33 | 88.26 | 68.42 | 64.81 | 111.44 | 83.41 | 78.04 | 59.33 | 106.08 | 87.23 | 67.02 | 56.63 | 84.28 | 84.28 | 90.94 | 95.76 | 82.09 | 74.19 | 65.5 | 71.64 | 108.27 | 30 | 965 | 36 | 30.63
26.10.22 11:56:46 | 21.08 | 68 | 84.43 | 66.61 | 106.86 | 87.37 | 67.86 | 64.39 | 110.96 | 83.11 | 77.47 | 58.79 | 105.61 | 86.78 | 67.02 | 56.09 | 83.99 | 83.99 | 90.79 | 94.85 | 81.51 | 73.76 | 64.67 | 70.8 | 107.64 | 30 | 965 | 36 | 30.63
26.10.22 11:57:01 | 21.33 | 68.14 | 84.28 | 66.19 | 107.02 | 87.52 | 67.58 | 64.12 | 111.28 | 82.97 | 77.33 | 58.79 | 105.92 | 86.34 | 67.02 | 56.23 | 83.7 | 84.28 | 90.79 | 94.25 | 81.66 | 73.9 | 64.12 | 70.23 | 107.96 | 30 | 965 | 36 | 30.63
26.10.22 11:57:16 | 21.58 | 67.86 | 83.7 | 66.05 | 106.55 | 87.23 | 67.02 | 63.7 | 110.8 | 82.38 | 77.33 | 57.3 | 105.76 | 86.19 | 66.74 | 55.42 | 83.41 | 83.7 | 90.64 | 94.09 | 81.51 | 74.05 | 63.57 | 70.09 | 107.49 | 30 | 965 | 36 | 30.66
26.10.22 11:57:31 | 21.83 | 68 | 83.55 | 65.91 | 107.17 | 86.64 | 67.02 | 63.7 | 110.96 | 82.24 | 77.33 | 57.44 | 105.92 | 86.19 | 66.88 | 55.29 | 83.41 | 83.7 | 90.64 | 94.09 | 81.66 | 73.9 | 63.02 | 69.81 | 108.12 | 30 | 965 | 36 | 30.66
26.10.22 11:57:46 | 22.08 | 68.14 | 83.26 | 64.94 | 106.86 | 86.49 | 66.61 | 63.15 | 110.64 | 82.09 | 77.04 | 57.17 | 105.76 | 85.75 | 66.88 | 54.48 | 83.11 | 83.55 | 90.34 | 93.34 | 81.37 | 74.33 | 62.88 | 68.97 | 107.64 | 30 | 965 | 36 | 30.66
26.10.22 11:58:01 | 22.33 | 67.86 | 82.97 | 64.81 | 106.7 | 85.75 | 66.19 | 63.02 | 110.48 | 82.09 | 76.61 | 55.82 | 105.76 | 85.75 | 66.88 | 54.22 | 82.97 | 83.55 | 90.34 | 93.19 | 80.93 | 74.19 | 62.61 | 68.83 | 107.8 | 30 | 965 | 36 | 30.66
26.10.22 11:58:16 | 22.58 | 68 | 82.82 | 64.12 | 106.55 | 85.9 | 65.91 | 62.74 | 110.64 | 81.8 | 76.75 | 55.02 | 106.08 | 85.75 | 66.47 | 53.81 | 82.82 | 82.82 | 90.34 | 92.89 | 81.22 | 73.62 | 62.47 | 68.28 | 107.64 | 30 | 965 | 36 | 30.67
26.10.22 11:58:31 | 22.83 | 67.86 | 82.24 | 63.84 | 106.7 | 85.75 | 65.91 | 62.19 | 110.48 | 81.66 | 76.32 | 55.42 | 106.08 | 85.75 | 66.74 | 53.55 | 82.68 | 82.53 | 90.05 | 92.14 | 80.64 | 74.05 | 62.19 | 67.86 | 107.96 | 30 | 965 | 36 | 30.66
26.10.22 11:58:46 | 23.08 | 67.16 | 82.24 | 63.7 | 106.23 | 84.58 | 65.5 | 62.06 | 110.01 | 81.51 | 76.04 | 53.95 | 105.92 | 85.02 | 66.74 | 53.15 | 82.53 | 82.38 | 90.19 | 92.29 | 80.93 | 73.76 | 62.06 | 67.58 | 108.12 | 30 | 965 | 36 | 30.67
26.10.22 11:59:01 | 23.33 | 67.02 | 82.38 | 63.57 | 106.39 | 84.28 | 65.22 | 62.06 | 110.01 | 81.22 | 75.47 | 53.55 | 106.08 | 85.16 | 66.19 | 52.88 | 82.24 | 82.24 | 90.05 | 91.99 | 80.93 | 74.19 | 61.37 | 67.02 | 107.8 | 30 | 965 | 36 | 30.67
26.10.22 11:59:16 | 23.58 | 67.16 | 82.09 | 63.57 | 106.55 | 83.99 | 64.81 | 61.78 | 109.85 | 81.08 | 74.9 | 53.55 | 105.76 | 84.87 | 66.47 | 52.35 | 82.09 | 82.24 | 89.9 | 90.79 | 80.21 | 74.33 | 61.78 | 66.88 | 107.96 | 30 | 965 | 36 | 30.67
26.10.22 11:59:31 | 23.83 | 66.74 | 82.09 | 63.29 | 106.23 | 83.41 | 64.39 | 61.1 | 109.69 | 80.79 | 74.47 | 52.48 | 105.76 | 84.28 | 66.05 | 51.95 | 82.09 | 82.09 | 89.9 | 90.34 | 80.21 | 74.19 | 61.24 | 66.19 | 108.27 | 30 | 965 | 36 | 30.67
26.10.22 11:59:46 | 24.08 | 66.05 | 81.37 | 63.15 | 106.23 | 82.82 | 64.26 | 61.1 | 109.69 | 80.35 | 74.19 | 51.69 | 105.61 | 84.28 | 65.91 | 51.82 | 81.8 | 81.66 | 89.45 | 90.34 | 80.21 | 73.9 | 61.24 | 66.05 | 107.96 | 30 | 965 | 36 | 30.7
26.10.22 12:00:01 | 24.33 | 65.91 | 81.37 | 63.15 | 105.92 | 82.68 | 63.98 | 60.83 | 109.38 | 80.21 | 74.19 | 51.02 | 105.76 | 83.99 | 65.77 | 51.42 | 81.51 | 81.51 | 89.45 | 90.05 | 80.21 | 73.62 | 60.83 | 65.5 | 108.12 | 30 | 965 | 36 | 30.69
26.10.22 12:00:16 | 24.58 | 65.5 | 81.37 | 63.02 | 106.08 | 82.68 | 63.84 | 60.83 | 109.38 | 80.06 | 73.62 | 51.02 | 105.45 | 83.7 | 65.64 | 51.95 | 81.08 | 81.8 | 89.3 | 89.9 | 80.21 | 74.19 | 60.83 | 65.77 | 108.12 | 30 | 965 | 36 | 30.7
26.10.22 12:00:31 | 24.83 | 65.77 | 81.22 | 62.74 | 105.92 | 82.24 | 63.57 | 60.15 | 109.06 | 79.92 | 73.19 | 49.7 | 105.29 | 83.55 | 65.64 | 51.82 | 81.22 | 81.8 | 89.3 | 89.6 | 79.63 | 73.62 | 60.69 | 64.81 | 108.43 | 30 | 965 | 36 | 30.7
26.10.22 12:00:46 | 25.08 | 65.22 | 80.79 | 62.88 | 105.76 | 81.95 | 63.15 | 60.42 | 109.22 | 79.63 | 72.49 | 49.18 | 105.61 | 83.26 | 65.64 | 52.22 | 80.79 | 81.37 | 88.71 | 89.3 | 79.49 | 73.05 | 60.28 | 64.12 | 108.27 | 30 | 965 | 36 | 30.7
26.10.22 12:01:01 | 25.33 | 64.81 | 80.35 | 62.74 | 105.61 | 81.8 | 63.02 | 60.01 | 109.22 | 79.05 | 72.2 | 48.52 | 105.45 | 83.26 | 65.08 | 51.82 | 80.79 | 81.22 | 88.56 | 89 | 79.49 | 73.05 | 60.01 | 63.7 | 108.12 | 30 | 965 | 36 | 30.71
26.10.22 12:01:16 | 25.58 | 64.81 | 80.5 | 62.33 | 105.76 | 81.51 | 62.19 | 59.6 | 109.06 | 79.2 | 72.06 | 48.13 | 105.45 | 82.38 | 65.5 | 52.22 | 80.5 | 81.08 | 88.86 | 88.41 | 79.34 | 72.91 | 60.15 | 63.29 | 107.96 | 30 | 965 | 36 | 30.71
26.10.22 12:01:31 | 25.83 | 63.98 | 79.77 | 62.33 | 105.61 | 81.08 | 62.06 | 59.6 | 108.59 | 79.05 | 71.78 | 47.08 | 104.98 | 82.53 | 65.08 | 52.08 | 80.21 | 81.22 | 88.56 | 88.11 | 79.05 | 73.05 | 59.74 | 63.7 | 108.12 | 30 | 965 | 36 | 30.71
26.10.22 12:01:46 | 26.08 | 63.7 | 79.49 | 62.19 | 105.61 | 80.64 | 61.92 | 59.06 | 108.59 | 79.05 | 71.64 | 46.04 | 105.45 | 82.24 | 65.36 | 52.22 | 79.92 | 81.22 | 88.26 | 87.97 | 79.34 | 72.91 | 60.01 | 62.74 | 108.12 | 30 | 965 | 36 | 30.71
26.10.22 12:02:01 | 26.33 | 63.29 | 79.49 | 62.06 | 105.61 | 79.92 | 61.65 | 58.38 | 108.75 | 78.91 | 71.22 | 46.04 | 105.29 | 82.09 | 65.5 | 53.01 | 79.77 | 80.93 | 88.11 | 87.08 | 79.34 | 72.91 | 59.47 | 62.61 | 108.43 | 30 | 965 | 36 | 30.71
26.10.22 12:02:16 | 26.58 | 63.29 | 79.49 | 61.51 | 105.29 | 79.49 | 61.24 | 57.98 | 108.12 | 78.76 | 71.08 | 45.78 | 105.14 | 81.8 | 64.67 | 52.75 | 79.63 | 80.93 | 88.26 | 86.19 | 79.2 | 73.05 | 59.74 | 62.47 | 108.43 | 30 | 965 | 36 | 30.73
26.10.22 12:02:31 | 26.83 | 62.61 | 79.2 | 61.1 | 105.14 | 79.2 | 60.69 | 57.71 | 107.96 | 78.62 | 70.09 | 45.52 | 104.83 | 81.22 | 64.53 | 52.35 | 79.34 | 80.79 | 87.52 | 85.75 | 78.62 | 72.91 | 59.2 | 61.92 | 108.27 | 30 | 965 | 36 | 30.74
26.10.22 12:02:46 | 27.08 | 62.19 | 79.05 | 60.83 | 105.29 | 78.76 | 60.83 | 57.17 | 108.27 | 78.33 | 70.09 | 44.48 | 105.14 | 80.93 | 64.39 | 52.35 | 79.05 | 80.64 | 87.67 | 85.16 | 78.48 | 72.35 | 58.93 | 61.78 | 108.12 | 30 | 965 | 36 | 30.74
26.10.22 12:03:01 | 27.33 | 62.19 | 79.05 | 60.83 | 105.14 | 78.19 | 60.56 | 57.17 | 107.64 | 77.76 | 70.09 | 44.22 | 105.14 | 80.5 | 63.84 | 52.08 | 78.76 | 80.21 | 87.52 | 85.16 | 78.62 | 72.77 | 58.38 | 60.96 | 107.96 | 30 | 965 | 36 | 30.74
26.10.22 12:03:16 | 27.58 | 62.06 | 78.62 | 60.01 | 105.29 | 78.04 | 60.15 | 56.76 | 107.96 | 77.9 | 69.81 | 44.74 | 104.98 | 80.21 | 64.12 | 52.22 | 78.76 | 80.21 | 87.52 | 84.58 | 78.76 | 72.63 | 58.79 | 60.96 | 108.43 | 30 | 965 | 36 | 30.74